## Annual DNR List
Annual List of DNRs for 2016
|  |  | Amount of Capacity | Total Installed
|  | Geographic Location | Designated (MW) /3/ | Capacity (MW)
Company Owned Resources | Electrical Locations /1/ | (County) | Nameplate/APS % | Nameplate/APS%
Redhawk CC 1-2 | Palo Verde/Hassayampa 500 kV /2/ | Maricopa, AZ | 1140 | 1140
Palo Verde 1-3 | Palo Verde 500 kV | Maricopa, AZ | 1225 | 1225
Navajo 1-3 | Navajo 500 kV | Coconino, AZ | 337 | 337
Cholla 1 and 3 | Cholla 230/500 kV | Navajo, AZ | 426 | 426
Four Corners 4-5 | FC 345/500 kV | San Juan, NM | 1029 | 1029
West Phoenix CC 1-5 | WP 230 kV | Maricopa, AZ | 1101 | 1101
Ocotillo Steam 1-2, CT 1 | OC 69 kV | Maricopa, AZ | 280 | 280
Saguaro CT 1-3 | SG 115 kV | Pinal, AZ | 184 | 184
Sundance /4/ | Liberty 230 kV | Maricopa, AZ | 218 | 218
Sundance /4/ | Pinnacle Peak 230 kV | Maricopa, AZ | 192 | 192
Ocotillo CT 2 | OC 230 kV | Maricopa, AZ | 53 | 53
West Phoenix CT 1-2 | WP 69 kV | Maricopa, AZ | 106 | 106
Yucca CT 1-6 | YU 69 kV | Yuma, AZ | 313 | 313
Douglas | FA 12 kV | Cochise, AZ | 26 | 26
New Preference Power
Parker/Davis | Gila 69 kV | Yuma, AZ | 1 | N/A
Renewable Power (Contracts)
85897 Aragonne | FCN 345 kV | San Juan, NM | 90 | N/A
85862 CE Turbo | Yucca 69 kV | Yuma, AZ | 12 | N/A
89817 Glendale | Phoenix distribution bus | Maricopa, AZ | 3 | N/A
Novo BioPower | Abitibi 69 kV | Navajo, AZ | 14 | N/A
89664 High Lonesome | Four Corners 345 kV | San Juan, NM | 100 | N/A
89665 Solana | Gila Bend 230 kV | Maricopa, AZ | 280 | N/A
Ajo PP00010 | Ajo distribution system | Pinal, AZ | 4.5 | N/A
Bagdad REBS PP00011 | Bagdad distribution bus | Yavapai, AZ | 15 | N/A
Prescott (New) PP00015 | Prescott distribution bus | Yavapai, AZ | 10 | N/A
Perrin Ranch PP00017 | Nav-WW 500 kV line tap | Coconino, AZ | 99 | N/A
Tonopah-Saddle Mtn. PP00020 | West of Phoenix dist. Bus | Maricopa, AZ | 15 | N/A
WM-Surprise PP00021 | Surprise distribution bus | Maricopa, AZ | 3 | N/A
Desert Sky/Badger Solar PP00023 | Liberty 230 kV | Maricopa, AZ | 15 | N/A
Gillespie PP00025 | Liberty 230 kV | Maricopa, AZ | 15 | N/A
Renewable Power APS Owned
Prescott Solar (Existing) | Prescott distribution bus | Yavapai, AZ | 3.8 | 3.8
AZ Sun - Paloma | Gila Bend distribution bus | Maricopa, AZ | 18 | 18
AZ Sun - Cotton Center | Gila Bend distribution bus | Maricopa, AZ | 17 | 17
AZ Sun - Hyder Phase I | Gila Bend distribution bus | Maricopa, AZ | 11 | 11
AZ Sun - Hyder Phase II | Gila Bend distribution bus | Maricopa, AZ | 5 | 5
AZ Sun - Chino Valley | Prescott area dist. Bus | Yavapai, AZ | 19 | 19
AZ Sun - Foothills I | Yuma area dist. Bus | Yuma, AZ | 19 | 19
AZ Sun - Foothills II | Yuma area dist. Bus | Yuma, AZ | 19 | 19
AZ Sun - GB Solar | Gila Bend distribution bus | Maricopa, AZ | 36 | 36
AZ Sun - Luke | West of Phoenix dist. Bus | Maricopa, AZ | 11 | N/A
AZ Sun - City of Phoenix | West of Phoenix dist. Bus | Maricopa, AZ | 11 | N/A
Contracted Power Purchases
86202 Gila River /5/ | Gila River 500 or 230 kV | Maricopa, AZ | 570 | N/A
89247 Arlington /6/ | Palo Verde 500 kV | Maricopa, AZ | 586 | N/A
AG-1 Supply | Palo Verde 500 kV | Maricopa, AZ | 200 | N/A
SRSG Supply | FC345,NV500,Sag500,YU69 | San Juan NM,Coconino AZ,Pinal AZ | 40-195 | N/A
| PV500,Lib230,PP230,WW230 | Maricopa AZ, Yuma AZ
CAISO Loss Payback January | PV500, Mead 230, FC500 | Maricopa AZ, Clark NV, San Juan NM, | 0-35 | N/A
CAISO Loss Payback Feb | PV500, Mead 230, FC500 | Maricopa AZ, Clark NV, San Juan NM, | 0-35 | N/A
CAISO Loss Payback March | PV500, Mead 230, FC500 | Maricopa AZ, Clark NV, San Juan NM, | 0-35 | N/A
CAISO Loss Payback April | PV500, Mead 230, FC500 | Maricopa AZ, Clark NV, San Juan NM, | 0-35 | N/A
CAISO Loss Payback May | PV500, Mead 230, FC500 | Maricopa AZ, Clark NV, San Juan NM, | 0-35 | N/A
CAISO Loss Payback June | PV500, Mead 230, FC500 | Maricopa AZ, Clark NV, San Juan NM, | 0-35 | N/A
Cholla 500 kV bus (CH 4) | Cholla 500 kv | Navajo, AZ | 0-380 | N/A
Pre-888 Grandfathered Power Purchases
PAC Exchange /7/ | FCN 345 kV or Cholla 500 kV | San Juan, NM or Navajo, AZ | 480 | N/A
| or PP 230 kV or MD 230 kV | or Maricopa, AZ or Clark, NV
Preference Power/8/
Navajo Surplus Jan. | WW 230 kV | Maricopa, AZ | 45 | N/A
Navajo Surplus Feb. | WW 230 kV | Maricopa, AZ | 25-50 | N/A
Navajo Surplus March | WW 230 kV | Maricopa, AZ | 25-50 | N/A
Navajo Surplus April | WW 230 kV | Maricopa, AZ | 45-90 | N/A
Navajo Surplus May | WW 230 kV | Maricopa, AZ | 50-105 | N/A
Navajo Surplus June | WW 230 kV | Maricopa, AZ | 0-120 | N/A
Hoover | Eagle Eye 230 kV | Maricopa, AZ | 16 | N/A
Hoover | Coolidge 230 kV | Pinal, AZ | 2 | N/A
Hoover | Buckeye 230 kV | Maricopa, AZ | 85 | N/A
Hoover | Pinnacle Peak 230 kV | Maricopa, AZ | 3 | N/A
CRSP | Buckeye 230 kV & PP 230 kV | Maricopa, AZ | 13 | N/A
Parker/Davis | Pinnacle Peak 230 kV | Maricopa, AZ | 2 | N/A
/1/ Delivery Points to the APS System. |  |  |  | Rev 6
/2/ Hassayampa and PV considered the same bus
/3/ MW amounts reflect the maximum generator nameplate ratings, contracted output amounts or historical performance.
/4/ Sundance nameplate ratings total 605 MW, but output is limited to available transmission on a third-party system.
/5/ MW amounts reflect the contracted minimum output / Total generated amount owned by APS.
/6/ Summer Resource Only/ contracted amount is 570 MW/ total generated amount owned by APS and may exceed 570 MW with favorable atmospheric conditions.
/7/ Contract allows the delivery point for this pre-888 contract to be moved to Cholla 500 kV or a mutually agreed to point if transmission constraints preclude using FCN 345 kV.
/8/ Contracts administered by APS M&T on behalf of their network load. (amounts have been rounded up to nearest MW) alternate delivery points such as Saguaro 115 are also possible.