## Slide 1: Deliverability Maps for 2017 Peaking Capacity RFP
Resource Planning

## Slide 2: 2017 Peaking Capacity RFP: High Voltage Deliverability Map
2
2021 Indicative guidelines for Deliverability of Product to APS Phoenix Metro Load Pocket for purposes of 2017 Peaking Capacity RFP:
Information represented here has been prepared by Resource Planning as an indicative guideline for 2021 Deliverability of Product to APS Phoenix Metro Load Pocket as currently estimated for purposes of the 2017 Peaking Capacity RFP.
Deliverability rating is representative of current estimations of Deliverability in 2021.
Information does not represent official Available Transmission Capacity.
Official Available Transmission Capacity can be found on OASIS.
Information in these figures is NOT intended to provide definitive guidance to any potential bidder regarding the specifics of the transmission system that may be applicable to bidder’s proposed facility. All bidders are responsible for performing their own independent evaluation of the transmission system as it may affect their proposed facilities.
Phoenix Metro Load Pocket
(69 kV-230 kV)*
Westwing
Westwing, Sun Valley, Morgan, Rudd, Kyrene
Pinnacle peak
Kyrene
Liberty
Mead
500 kV
PV Hub
500 kV
Gila Bend
230 kV
Saguaro
Cholla
Four Corners
345 kV
230 kV
345 kV
500 kV
Low Deliverability
Medium Deliverability
High Deliverability
LEGEND
* See Figure 2 for Phoenix Metro Load Pocket details
Navajo
500 kV
Moenkopi
Morgan
500 kV

## Slide 3: 2017 Peaking Capacity RFP: Phoenix Metro Load Pocket Deliverability Map
Phoenix Metro Load Pocket
(69 kV-230 kV)
NORTH-WEST VALLEY SUB-REGION
WEST VALLEY SUB-REGION
SOUTH-WEST VALLEY SUB-REGION
NORTH-CENTRAL VALLEY SUB-REGION
NORTH SCOTTSDALE
SUB-REGION
EAST VALLEY
SUB-REGION
Δ Rudd*
Δ Westwing*
Δ Morgan*
Δ Pinnacle Peak*
Δ Cactus*
Δ Ocotillo*
LEGEND
 | 230 kV | 69 kV
 | Deliverability Limited by 69 kV system | Medium Deliverability: 25 MW in one location. Total of 50 MW in each sub-region.
 | Highest Deliverability: 50-100 MW in one location. | Highest Deliverability: 25 MW in one location. Total of 80 MW in each sub-region.
2021 Indicative guidelines for Deliverability of Product inside APS Phoenix Metro Load Pocket for purposes of 2017 Peaking Capacity RFP are the same as provided on the previous map.
* Substations identified for rough geographic orientation only. Substation identification does not imply APS ownership.