## Queue Projects
Active Projects (Updated 1/13/17)
Queue Number | Transmission System | Request Received | Designated Point(s) of Interconnection | Max Capacity (Summer / Winter MW) | In-Service Date | Status | Studies Available | Generator Type/Fuel | Location (County / State)
2008-G9 | LAPT | 2008-03-28 | Wray Sub. 115-kV | 90 | 2019-10-01 | In Progress | FS, FSR, SIS, SISR, FACS | Wind | Yuma County, CO
2009-G3 | LAPT | 2009-04-02 | Haxtun Substation | 30 | 2015-12-31 | In Progress | FS, SIS, FACS | Wind | Phillips & Logan Counties, CO
2010-G4 | LAPT | 2010-09-22 | Archer-Sidney 115-kV | 60 | 2017-09-30 | In Progress | SIS, SISR, FACS | Wind | Kimball County, NE
2013-G4 | CRCM | 2013-07-30 | Shiprock 345-kV Sub | 750 | 2017-11-17 | In Progress | FS, SIS, FACS | Natural Gas/Solar | San Juan County, NM
2014-G2 | LAPT | 2014-05-22 | Midway Substation | 100 | 2016-07-01 | In Progress | SIS, FACS | Solar | El Paso County, CO
2017-G1 | LAPT | 2016-12-06 | Miracle Mile - Snowy Range 230-kV | 200 | 2020-10-01 | In Progress |  | Wind | Albany and Carbon County, WY
Inactive/Canceled Projects
Queue Number | Transmission System | Request Received | Designated Point(s) of Interconnection | Max Capacity (Summer / Winter MW) | In-Service Date | Status | Studies Available | Generator Type/Fuel | Location (County / State)
2003-G1 | LAPT | 2003-04-18 | Laramie 115-kV Sub Yearly non-firm | 50 | 2013-08-01 | Withdrawn | SIS, FACS, FACSR | Wind | Albany County, WY
2004-G2 | LAPT | 2004-03-19 | Akron Substation Beaver Creek-Deering Lake 115-kV | 90 | 2009-06-01 | Withdrawn | SIS, FACS | Wind | Washington County, CO
2004-G4 | LAPT | 2004-04-02 | Limon 115-kV line | 100.5 | 2016-06-30 | Withdrawn | SIS, FACS | Wind | Lincoln County, CO
2004-G7 | LAPT | 2004-08-27 | Ault Substation | 153 | 2009-01-01 | Withdrawn | SIS | Wind | Weld County, CO
2004-G8 | LAPT | 2004-11-01 | Wauneta Substation 115-kV | 102 | 2009-09-30 | Withdrawn | FS, SIS, FACS | Wind | Yuma County, WY
2005-G1 | LAPT | 2005-01-06 | Fleming-Haxtun | 90 | 2012-10-03 | In Service | SIS, FACS | Wind | Logan County, CO
2006-G2 | CRCM | 2006-04-20 | Archer-Hayden line | 100.5 | 2013-12-10 | Removed from Queue | SIS, FACS | Wind | Laramie County, WY
2007-G1 | LAPT | 2007-02-07 | Medicine Bow area on the Miracle Mile-Snowy Range 230-kV line | 100 | 2008-01-01 | Withdrawn | FS, SIS, FACS | Wind | Carbon County, WY
2007-G2 | CRCM | 2007-03-12 | Craig-Ault 345-kV line | 300 | 2014-02-01 | Withdrawn | FS, SIS, SISR, FACS | Wind | Albany County, WY
2007-G3 | LAPT | 2007-07-12 | Happy Jack Sub | 120 | 2010-10-01 | Withdrawn | FS | Wind | Laramie County, WY
2007-G4 | CRCM | 2007-03-19 | Archer-Hayden 230-kV | 300 | 2014-06-01 | Withdrawn | FS, SIS, SISR, FACS | Wind | Albany County, WY
2007-G5 | LAPT | 2007-06-20 | DJ-Stegall 230-kV line | 99 | 2013-12-31 | Withdrawn | FS, SIS, SISR, FACS | Wind | Goshen County, WY
2007-G6 | LAPT | 2007-06-07 | Snowy Range-MM-DJ | 240 | 2014-12-31 | Withdrawn | SIS, SISR | Wind | Albany County, WY
2007-G7 | LAPT | 2007-07-16 | MM 230-kV line | 300 | 2012-09-01 | Withdrawn | SIS | Wind | Carbon County, WY
2007-G8 | LAPT | 2007-09-11 | Spence 230-kV Sub | 299 | 2012-12-31 | Withdrawn | FS | Wind | Natrona County, WY
2007-G9 | LAPT | 2007-11-20 | Archer-Ault 230-kV line | 100 | 2012-12-31 | Withdrawn | None Available | Wind | Laramie County, WY and Weld County, CO
2007-G10 | LAPT | 2007-12-13 | Sidney-Archer 115-kV | 124.5 | 2011-09-01 | Withdrawn | FS, FSR, SISR | Wind | Kimball County, NE
2007-G11 | LAPT | 2007-12-28 | Medicine Bow Substation 115-kV | 30 | 2010-01-01 | Withdrawn | SIS | Wind | Carbon County, WY
2008-G2 | LAPT | 2008-01-22 | Spence 230-kV Sub | 99 | 2010-03-01 | Withdrawn | None Available | Wind | Natroma County, WY
2008-G3 | LAPT | 2008-01-22 | Spence 230-kV | 99 | 2010-06-01 | Withdrawn | None Available | Wind | Natroma County, WY
2008-G4 | LAPT | 2008-02-19 | Archer-Stegall 115-kV | 30 | 2012-12-15 | Withdrawn | SIS, FACS | Wind | Laramie County, WY
2008-G5 | LAPT | 2008-02-19 | Archer-Sidney 115-kV | 30 | 2012-12-15 | Withdrawn | SIS, FACS | Wind | Laramie County, WY
2008-G6 | LAPT | 2008-02-20 | Oasis Tap (225-kV) | 100 | 2011-03-01 | Withdrawn | FS | Wind | Albany County, WY
2008-G7 | LAPT | 2008-02-20 | Oasis Sub (230-kV) | 100 | 2011-03-01 | Withdrawn | FS | Wind | Albany County, WY
2008-G8 | LAPT | 2008-03-28 | Spring Canyon Sub 230-kV | 60 | 2009-12-01 | Withdrawn | None Available | Wind | Logan County, CO
2008-G10 | LAPT | 2008-05-21 | Haxtun 115-kV | 100 | 2012-12-01 | Withdrawn | FS | Wind | Phillips County, CO
2008-G11 | LAPT | 2008-06-30 | Chadron 115-kV | 100.5 | 2012-09-01 | Withdrawn | None Available | Wind | Dawes County, NE
2008-G12 | LAPT | 2008-07-07 | Stegall-LaGrange 115-kV | 99 | 2011-09-15 | Removed from Queue | FS | Wind | Goshen County, WY
2008-G13 | LAPT | 2008-09-16 | Archer-Sidney 115-kV | 120 | 2011-09-30 | Withdrawn and Resubmitted | SIS | Wind | Kimball County, NE
2009-G1 | CRCM | 2009-01-13 | Craig-Ault 345-kV | 200 | 2014-11-01 | Withdrawn | SIS, SISR, FACS | Wind | Albany County, WY
2009-G2 | LAPT | 2009-03-17 | Cheyenne-Miracle Mile | 200 | 2011-07-01 | Removed from Queue | SIS, SISR | Wind | Laramie County, WY
2010-G1 | LAPT | 2009-11-17 | LaGrange-Stegall 115-kV | 51 | 2011-10-31 | Withdrawn | None Available | Wind | Banner County, NE
2010-G2 | LAPT | 2010-01-29 | Archer 230-kV Sub | 200 | 2011-03-31 | Withdrawn | None Available | Wind | Platte County, WY
2010-G3 | LAPT | 2010-03-24 | Guernsey Rural | 35 | 2012-12-01 | Withdrawn | FS | Solid Waste | Platte County, WY
2013-G1 | LAPT | 2013-04-30 | Wray Sub. 115-kV | 30 | 2014-12-31 | Withdrawn | None Available | Wind | Yuma County, CO
2013-G2 | LAPT | 2013-04-30 | Happy Jack 230/34.5-kV Sub | 30 | 2014-12-31 | Withdrawn | None Available | Wind | Laramie County, WY
2013-G3 | LAPT | 2013-07-25 | Wildhorse Creek Switchyard | 4 | 2015-12-15 | In Service | None Available | Wind | Logan County, CO
2014-G1 | LAPT | 2013-12-17 | Medicine Bow | 6.39 | 2013-12-31 | In Service | None Available | Wind | Carbon County, WY
2015-G1 | CRCM | 2015-07-10 | Glen Canyon Substation | 250 | 2019-12-31 | Withdrawn | SIS | Solar | Kane County, UT
2016-G1 | LAPT | 2016-03-14 | Yellowtail 115-kV Substation | 7 | 2018-06-01 | Withdrawn | None Available | Hydro | Big Horn County, MT
Study Abbreviations
SIS |  | System Impact Study
FS |  | Feasibility Study
FACS |  | Facilities Study
SISR |  | System Impact Re-Study
FSR |  | Feasibility Re-Study
FACSR |  | Facilities Re-Study