## Slide 1: Pseudo-tie business procedure
Tariff Administration, August 2017

## Slide 2: Purpose of pseudo-tie procedure
Implement pseudo-ties in a reliable and compliant manner
Work with all stakeholders on necessary agreements and compensation
Develop a schedule for each pseudo-tie request mutually agreed upon by stakeholders – Native BA, Attaining BA, Asset Owner, RTO’s or other parties
Ensure sufficient evaluation and study to examine pseudo-tie impact
Ensure sufficient modeling and measurement to reliability operate the pseudo-tie

## Slide 3: Dynamic Transfers
Dynamic Transfers: Provisions and administration to electronically move all or a portion of the real time energy services associated with a generator or load out of one Balancing Authority Area into another.
Pseudo-tie: A time-varying energy transfer that is updated in Real-time and included in the Actual Net Interchange term (NIA) in the same manner as a Tie Line in the affected Balancing Authorities’ control ACE equations (or alternate control processes).
  Requires firm transmission service reservation (TSR)
  Typically no associated tags, not subject to tag rules
  Transmission Load Relief – embedded in Market Flow / congestion management calculations, not discretely for curtailment
  Additional modelling and refinement to calculations required to capture impacts in ATC, Reserves, IDC, etc.
Dynamic Schedule: A time-varying energy transfer that is updated in Real-time and included in the Scheduled Net Interchange (NIS) term in the same manner as an Interchange Schedule in the affected Balancing Authorities’ control ACE equations (or alternate control processes).
  Does not require firm transmission service
  Subject to tagging rules
  Transmission Load Relief – seen discretely for curtailment
Notes: Pseudo-Tie
Transmission Service Request: Requires firm transmission service
ACE impact: Impacts Actual Net Interchange like a Tie Line; Generation or Load included in Attaining BA calculations, excluded in Native BA
Reserve calculations: Included in Attaining BA calculations, excluded in Native BA
Tagging: Typically no associated tags, not subject to tagging rules
Scheduling: Scheduled in Attaining BA, not scheduled in Native BA
ACE: Impacts Actual Net Interchange like a Tie Line; Generation or Load included in Attaining BA calculations, excluded in Native
ATC: Additional modelling required to capture impact
Transmission Load Relief: Included via Market Flow calculation – seen only as embedded in market flow calculation, not discretely for curtailment
IDC: Embedded in market flow or other congestion calculations
Hourly Interchange Check Out: ?
Dynamic Schedule
Transmission Service Request: Does not require firm transmission service
ACE impact: Impacts Scheduled Net Interchange like an Interchange Schedule; ??
Reserve calculations: ?
Tagging: Subject to tagging rules
Scheduling: Scheduled
ACE: Impacts Scheduled Net Interchange like an Interchange Schedule; ??
ATC: Included in models discretely in relation to the tags
Transmission Load Relief: Included via tag – seen discretely for curtailment
IDC:IDC calculations uses tags
Hourly Interchange Check Out: If issues, investigate using tag data

## Slide 4: Types of pseudo-ties
Duke BAA
Native BA

External BA
Attaining BA
Duke BAA
Attaining BA
External BA
Native BA

Duke BAA
Native BA
External BA
Attaining BA
L
Duke BAA
Attaining BA
External BA
Native BA
L
Duke BAA
External BA
Attaining BA
External BA
Native BA

Generator export – pseudo-tied out of Duke
Load export – pseudo-tied out of Duke
Load import – pseudo-tied into Duke
Generator import – pseudo-tied unit into Duke
Generator wheeled – pseudo-tie through and out of Duke
Registration: Duke first source & TP, external Attaining BA last sink
ACE: Duke removes MW, external Attaining BA includes MW
Reserves: decreased for Duke, increased for external attaining BA
ATC & IDC: additional modelling captures impacts
Registration: Native BA Source, Duke last sink & TP
ACE: external Native BA removes MW, Duke includes MW
Reserves: decreased for external Native BA, increased for Duke
ATC & IDC : additional modelling captures impacts
Registration: Native BA first source, Attaining BA last sink, Duke TP between 2 other TP’s
ACE: compensated for losses
ATC: generation needs to be modelled to run when expected to run, since there are no tags
ATC & IDC : additional modelling captures impacts
Registration: Native BA first source, Duke last sink
ACE: external Native BA reduces Load Forecasting Calculation & Area Load Calculation, Duke increases
Reserves: decreased for external Native BA, increased for Duke
ATC & IDC: additional modelling captures impacts
Registration: Duke first source, Attaining BA last sink
ACE: Duke reduces Load Forecasting Calculation & Area Load Calculation, external Attaining BA increases
Reserves: decreased for Duke, increased for external Attaining BA
ATC & IDC: additional modelling captures impacts

## Slide 5: Roles in pseudo-tie procedure
Role | 
Generator Owner / Load Owner | Requestor of the pseudo-tie that is either importing or exporting generation or load.
Native BA | Source BA of generation or load served.
Native RC | Source RC of generation or load served.
Attaining BA | Recipient BA of generation or load served. Generally, should coordinate agreement of Dynamic Transfer Agreement across parties.
Attaining RC | Recipient RC of generation or load served. Approves the pseudo-tie.
Market Entity | RTO’s, if involved in pseudo-tie.
Transmission Provider | Entities on the path of the pseudo-tie providing firm transmission service.
Transmission Operator & Planners | Entities conducting required studies for firm transmission services as needed.
Transmission Customer | Recipient of firm transmission service from Transmission Providers on the path of the pseudo-tie.

## Slide 6: Pseudo-tie business procedure
Documented procedure to facilitate pseudo-tie agreements and implementation for DEC, DEP, and DEF
DEMW uses MISO and PJM pseudo-tie procedures as Local Balancing Authorities and Market Participants
Business procedure is high level and provide guidelines, as each pseudo-tie may have unique technical implementation and operational requirements
Reimbursement Agreement and Dynamic Transfer Agreement must be filed with FERC for approval
Use of agreements based on pseudo-ties is as follows:
  Export to DEC, DEP, or DEF => Generation Out , Load Out
    Duke Energy would be a party to Attaining BA’s Dynamic Transfer Agreement
    Duke Energy and Transmission Customer (Generator Owner) would be party to TSR evaluation / results (System Impact & Facilities Studies, as needed) and Reimbursement Agreement
  Import to DEC, DEP, or DEF => Generation In, Load In
    Duke Energy would coordinate it’s own Dynamic Transfer Agreement across all impacted parties – Native BA, Transmission Customer (Generator Owner)
    Duke Energy and Transmission Customer would be party to TSR evaluation / results (System Impact & Facilities Studies, as needed) and Reimbursement Agreement
  Generation Through and Out of DEC, DEP, or DEF
    Duke Energy would be a party or not to Attaining BA’s Dynamic Transfer Agreement, depending on the nature of the agreement
    Duke Energy and Transmission Customer (Generator Owner) would be party to TSR evaluation / results (System Impact Study, as needed) and reimbursement agreement

## Slide 7: Pseudo-tie agreements
System Impact Study Agreement / TSR Evaluation
  Standard OATT agreement to evaluate impact for Transmission Service Reservation
  In the case of a pseudo-tie, if firm transmission is not in place or the pseudo-tie requires a change to existing firm transmission’s capacity, then the TSR for firm transmission must be evaluated before the pseudo-tie is pursued
Reimbursement Agreement
  Contractual agreement between Duke Energy and pseudo-tie requestor to ensure payment of pseudo-tie assessment and implementation costs:
    Assessment fee: set $ for Duke Energy to assess and provide good faith estimate
    Good faith estimate: cost and timeline to implement the pseudo-tie (registration, modeling, testing, overall coordination, etc.)
  Does not guarantee pseudo-tie
  Upgrades identified out of TSR evaluation are handled through a separate reimbursement process / agreement
Dynamic Transfer Agreement
  Contractual agreement between Duke Energy and related stakeholders to ensure pseudo-tie meets requirements for implementation, measurement, and operations
  Does not provide for transmission or interconnection service

## Slide 8: Pseudo-tie implementation process
Request
Assessment
TSR Evaluation
(as needed)
Approval
Technical Development & Registration
Cutover
Change or Retire
Request Dynamic Transfer
Determine if firm transmission service is existing or needs updated
Execute Reimbursement Agreement
File Reimbursement Agreement with FERC for approval
FERC rules on Reimbursement Agreement
Setup accounting to capture costs
Determine studies with related timelines and operational procedures to support pseudo-tie
Confirm ability to meet all measurement requirements
Develop and provide good faith cost estimate and timeline to implement pseudo-tie
Offer executable Dynamic Transfer Agreement
Request firm transmission service
If needed, complete System Impact Study
If needed , conduct Facilities Study and provide good faith cost estimate and timeline
If needed, agree to have identified upgrades in place prior to pseudo-tie activation
Execute Service Agreement
Execute Dynamic Transfer Agreement
File Dynamic Transfer Agreement with FERC for approval
FERC rules on Dynamic Transfer Agreement
Complete installation and testing of all required communication and measurement equipment
Complete modelling and calculation updates
Confirm all measurements are configured, tested, and ready for activation
Register pseudo-tie in NAESB web-registry
RC reviews/approves pseudo-tie
Attaining BA hosts call to support cutover
Release Production model
Duke Energy sends invoice for actual costs incurred per Reimbursement Agreement
Invoice for costs paid
Change – use same process for new request
Retire - Notify Duke Energy 90 Days prior to retirement

## Slide 9: Pseudo-tie implementation process
Pseudo-Tie
Request
TSR
Evaluation
Approval
Technical Development & Registration
Assessment
Approval
Technical Development & Registration
Cutover
Change or Retire
Cutover
Change or Retire
Firm transmission service existing and service will NOT require changes?
NO
YES
150 to 300+ days from completion of TSR evaluation,
depending on upgrades plus requirements
for communications and measurement
150 to 300+ days, depending on requirements
for communications and measurement
Change = same timelines as a new pseudo-tie
Retire = 90 day lead time
Per Duke Energy Joint OATT to arrange firm transmission service: minimum 60 days lead time + potential study time + potential facilities upgrade time
45 Days
Approximately 1 year lead time for pseudo-tie
Time to arrange firm transmission
+ Approximately 1 year lead time for pseudo-tie
85 Days
25d + 60d for FERC approval of Reimbursement Agreement
Assessment
45 Days

## Slide 10: Pseudo-tie change or retirement
Change
  Any change to a pseudo-tie would basically run through the same process as a new pseudo-tie
  Depending on the nature of the change, the timeline for implementation could vary widely
Retirement
  Provide Duke Energy minimum of 90 days notification for legal to coordinate to Dynamic Transfer Agreement closure and any required FERC notifications
    FERC Notice of Cancellation 30 days in advance
    FERC 60 days to rule on cancellation
  Update pseudo-tie registration with NAESB, BA registration requirements and any related TSR
  Owner of generator or load will coordinate necessary calls prior to and during deactivation to ensure technical details are completed
  Finalize modeling, communication, and operational changes