|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| O.O. | ***16-10237***  **16-07564**  ***16-01987***  ***16-07356***  **16-00612** | | | MISO No | ***1-11113624***  **1-10934921**  ***1-11298781***  ***1-11265972***  **1-11265970** | File No. | 240801 |
| **Abnormal Operating Condition:** | | 115 kV Line GP1 (Great Falls G.S. – Pine Falls G.S.)  230 kV Line R23R (Rosser – Ridgeway)  115 kV Line SW4 (Seven Sister G.S. – Whiteshell) | | | | | |
| **Effective Dates:** | | | 2016-09-19 from 0830 to 2016-09-19 at 0900 CST  (2016-09-19 from 0830 to 2016-09-19 at 0900 EST) | | | | |
| **Standing Guide Reference:** | | | System Study as per L. Ruchkall - Generation Pattern 1 (Summer 451- 591 MW's) | | | | |

|  |  |
| --- | --- |
| **Description of Work:** | GP1 – Switching for Pine Falls 115-12 kV Bank 7 and associated 115kv Bus for civil to drill piles for the new 115kv Line PQ95 to Manigotagan.  R23R – Commission new Ridgeway 230 kV Breaker R4.  SW4 – Momentary switching to clear SK1 Sub - 115 kV Breaker 204. |





|  |  |
| --- | --- |
| **Special Instructions to MHEB Operator:** | **Export**:  If RTCA indicates that the loss of SW2 or SW3 will cause overloads on SW1 or vice versa, transfer from IESO may need to be curtailed.  **Import**: RTCA indicates that the loss of F3M, ST5 or ST6 will cause overloads on WT34, transfer from IESO may need to be curtailed. |

|  |  |
| --- | --- |
| **MISO North RC Notes:** | MH\_ONT\_E (Export) SOL = 206 MW  MH\_ONT\_W (Import) SOL = 161 MW |
|  |  |
| **Special Instructions:** | **TOI Extensions** - This TOI may be extended until 23:59, by performing the following steps.  a) Verify system conditions to confirm there are no additional tie line facilities outages, or new internal MH outages.  b) Review RTCA to confirm there are no new contingencies.  c) Contact MISO to confirm there are no new outages, if there are no new outages provide notice to MISO that MH is extending the TOI.  d) Extend the outage in COLA  e) Update TLAP outage table  f) Provide notice to affected balancing authorities |

|  |  |  |  |
| --- | --- | --- | --- |
| **Prepared By:** | S. Brooks | **Date:** | 2016 09 15 |

Copies to:

SOSS, System Control Centre NSSS, System Control Centre

GSSS, System Control Centre GSO, System Control Centre

Operating Order Ontario IESO

MISO – St. Paul MHEB OASIS

File 240801