|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| O.O. |  ***17-00223*** ***17-03911*** ***17-05706*** | MISO No | ***1-13279562******1-13342111******1-13909759*** | File No. | 240801 |
| **Abnormal Operating Condition:** | 230 kV Line M33R (Riel – Ridgeway – Transcona East)500 - 230 – 46kV Bank T71 (Riel)115 kV Line SW1 (Seven Sisters – Whiteshell) |
| **Effective Dates:** | 2017-05-24 from 1500 to 2017-05-24 at 1600 CST(2017-05-24 from 1500 to 2017-05-24 at 1600 EST) |
| **Standing Guide Reference:** | Study as per L. Ruchkall - Generation Pattern 1 (Summer 451- 553 MW's) |

|  |  |
| --- | --- |
| **Description of Work:** | M33R – Riel Protection and Commissioning work on 230 kV Breakers R10, R11 R9 and M.O.Disconnect F1.T71 – Riel 500 - 230 - 46kV Bank is required out of service for Siemens Canada to modify T71 fire system H.A.D. cable shield grounds. Repair defective structure lights above T71 A, B & C phase transformers, and clean T71 A, B & C phase transformer cooler radiatorsSW1 – Seven Sisters 115 kV Line is required out of service to isolate Whiteshell 115–33 kV Bank 2. |





|  |  |
| --- | --- |
| **Special Instructions to MHEB Operator:** | **Export**:  If RTCA indicates that the loss of SW2 or SW3 will cause an overload on SW4, transfer from IESO may need to be curtailed. **Import**: If RTCA indicates that the loss of ST5 or ST6 will cause overloads on WT34, transfer from IESO may need to be curtailed. |

|  |  |
| --- | --- |
| **MISO North RC Notes:** | MH\_ONT\_E (Export) SOL = 203 MWMH\_ONT\_W (Import) SOL = 204 MWMH\_ONT\_E (Export)\_Transfer Limits\_SOL\_During\_Offloads = 140 MW MH\_ONT\_W (Import)\_Transfer Limits\_SOL\_During\_Offloads = 130 MW  |
|  |  |
| **Special Instructions:** | **TOI Extensions** - This TOI may be extended until 23:59, by performing the following steps.a) Verify system conditions to confirm there are no additional tie line facilities outages, or new internal MH outages.b) Review RTCA to confirm there are no new contingencies.c) Contact MISO to confirm there are no new outages, if there are no new outages provide notice to MISO that MH is extending the TOI.d) Extend the outage in COLAe) Update TLAP outage tablef) Provide notice to affected balancing authorities |

|  |  |  |  |
| --- | --- | --- | --- |
| **Prepared By:** | J. Thompson | **Date:** | 2017 05 24 |

Copies to:

 SOSS, System Control Centre NSSS, System Control Centre

 GSSS, System Control Centre GSO, System Control Centre

 Operating Order Ontario IESO

 MISO – St. Paul MHEB OASIS

 File 240801