|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| O.O. |  ***17-02008*** ***17-02010*** | MISO No |  ***1-14571027*** ***1-14571030*** | File No. | 240801 |
| **Abnormal Operating Condition:** | 115 kV Line ST5 (Seven Sisters – Transcona)115 kV Line ST6 (Seven Sisters – Transcona) |
| **Effective Dates:** | 2017-08-31 from 0800 to 2017-09-01 at 1630 CDT(2017-08-31 from 0800 to 2017-09-01 at 1630 EST) |
| **Standing Guide Reference:** | Study as per K. Prystay - Generation Pattern 1 and 3 (Summer 301- 553 MW's) |

|  |  |
| --- | --- |
| **Description of Work:** | ST5 & ST6 – Clearance needed for the installation of tower footings for the new tower for the new Riel electrode Line. |





|  |  |
| --- | --- |
| **Special Instructions to MHEB Operator:** | **Export**:  If scheduled export on the interface is below 40 MW and RTCA indicates that the loss of WT34 will cause an overload on SG12 then reduce Seven Sisters Generation.If scheduled export on the interface is above 40 MW and RTCA indicates that the loss of WT34 will cause an overload on SG12 or the loss of SR3 will cause an overload on SG12, then the transfer from IESO may need to be curtailed. **Import**: If RTCA indicates that the loss of WT34 will cause an overload on SG12, then the transfer from IESO may need to be curtailed. |

|  |  |
| --- | --- |
| **MISO North RC Notes:** | MH\_ONT\_E (Export) Transfer Limit = 142 MWMH\_ONT\_W (Import) Transfer Limit = 44 MWMH\_ONT\_E (Export) Transfer Limit During Offloads = 140 MWMH\_ONT\_W (Import) Transfer Limit During Offloads = 44 MW |
|  |  |
| **Special Instructions:** | **TOI Extensions** - This TOI may be extended until 23:59, by performing the following steps.a) Verify system conditions to confirm there are no additional tie line facilities outages, or new internal MH outages.b) Review RTCA to confirm there are no new contingencies.c) Contact MISO to confirm there are no new outages, if there are no new outages provide notice to MISO that MH is extending the TOI.d) Extend the outage in COLAe) Update TLAP outage tablef) Provide notice to affected balancing authorities |

|  |  |  |  |
| --- | --- | --- | --- |
| **Prepared By:** | J. Thompson | **Date:** | 2017 08 24 |

Copies to:

 SOSS, System Control Centre NSSS, System Control Centre

 GSSS, System Control Centre GSO, System Control Centre

 Operating Order Ontario IESO

 MISO – St. Paul MHEB OASIS

 File 240801