|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| O.O. | ***17-00226***  ***17-00268***  ***17-07558***  ***17-02720***  ***17-08773***  ***17-09149*** | | | MISO No | ***1-14341571***  ***1-14622715***  ***1-14393225***  ***1-14259948***  ***1-14867624*** | File No. | 240801 |
| **Abnormal Operating Condition:** | | 230 kV Line M87V (Riel – St.Vital)  115 kV Line VP35 (St. Vital – Plessis Road)  115 kV Line PC4 (Pine Falls – Parkdale)  115 kV Line SM26 (Selkirk – Mercy)  115 kV Line TV1 (Transcona – St. Vital) | | | | | |
| **Effective Dates:** | | | 2017-08-23 from 1200 to 2017-08-23 at 1630 CDT  (2017-08-23 from 1200 to 2017-08-23 at 1630 EST) | | | | |
| **Standing Guide Reference:** | | | Study as per K. Prystay - Generation Pattern 1 and 3 (Summer 301- 553 MW's) | | | | |

|  |  |
| --- | --- |
| **Description of Work:** | M87V – Riel Protection, Communication, and Commissioning work on 230 kV Breakers R22, R23, and Disconnect T4.  VP35 – Insulation and Mechanical checks on 115 kV Breaker VP35 at St. Vital.  PC4 – 115 kV Line PC4 must be removed from service in order for a crane to get access to remove and install Breaker Bushings.  SM26 – 115 kV Line SM26 will be open ended for Selkirk GS Breaker R12 Breaker maintenance.  TV1 – 115 kV Line Tripped, Failed Conductor Sleeve. |





|  |  |
| --- | --- |
| **Special Instructions to MHEB Operator:** | **Export**:  If RTCA indicates that the loss of SR3 will cause an overload on SG12, transfer from IESO may need to be curtailed.   **Import**: None |

|  |  |
| --- | --- |
| **MISO North RC Notes:** | MH\_ONT\_E (Export) Transfer Limit = 216 MW  MH\_ONT\_W (Import) Transfer Limit = 60 MW  MH\_ONT\_E (Export) Transfer Limit During Offloads = 140 MW  MH\_ONT\_W (Import) Transfer Limit During Offloads = 60 MW |
|  |  |
| **Special Instructions:** | **TOI Extensions** - This TOI may be extended until 23:59, by performing the following steps.  a) Verify system conditions to confirm there are no additional tie line facilities outages, or new internal MH outages.  b) Review RTCA to confirm there are no new contingencies.  c) Contact MISO to confirm there are no new outages, if there are no new outages provide notice to MISO that MH is extending the TOI.  d) Extend the outage in COLA  e) Update TLAP outage table  f) Provide notice to affected balancing authorities |

|  |  |  |  |
| --- | --- | --- | --- |
| **Prepared By:** | J. Thompson | **Date:** | 2017 08 23 |

Copies to:

SOSS, System Control Centre NSSS, System Control Centre

GSSS, System Control Centre GSO, System Control Centre

Operating Order Ontario IESO

MISO – St. Paul MHEB OASIS

File 240801