|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| O.O. | **None** | MISO No | ***None*** | File No. | 240801 |
| **Abnormal Operating Condition:** | MH - ONT - Winter Limits for System Intact with the Winnipeg River operating between 221MW - 591MW  |
| **Effective Dates:** | 2017-11-01 from 0001 to 2018-04-30 at 2359 CST(2017-11-01 from 0001 to 2018-05-01 at 0059 EST) |
| **Standing Guide Reference:** | System Study as per K. Prystay (Winter 221- 591 MW's) |

|  |  |
| --- | --- |
| **Description of Work:** | MH - ONT - Winter Limits for System Intact with the Winnipeg River operating between 221MW - 591MW .Nov 1 - Apr 30 |





|  |  |
| --- | --- |
| **Special Instructions to MHEB Operator:** | **Export**:  None. **Import**: If RTCA indicates that the loss of ST6 will cause overloads on WT34, transfer from IESO may need to be curtailed. |

|  |  |
| --- | --- |
| **MISO North RC Notes:** | MH\_ONT\_E (Export) Transfer Limit = 300 MWMH\_ONT\_W (Import) Transfer Limit = 300 MWMH\_ONT\_E (Export) Transfer Limits During Offloads = 190 MW MH\_ONT\_W (Import) Transfer Limits During Offloads = 190 MW  |
|  |  |
| **Special Instructions:** | **TOI Extensions** - This TOI may be extended until 23:59, by performing the following steps.a) Verify system conditions to confirm there are no additional tie line facilities outages, or new internal MH outages.b) Review RTCA to confirm there are no new contingencies.c) Contact MISO to confirm there are no new outages, if there are no new outages provide notice to MISO that MH is extending the TOI.d) Extend the outage in COLAe) Update TLAP outage tablef) Provide notice to affected balancing authorities |

|  |  |  |  |
| --- | --- | --- | --- |
| **Prepared By:** | T. Karlowsky | **Date:** | 2017 10 31 |

Copies to:

 SPSO, System Control Centre NSSS, System Control Centre

 GSSS, System Control Centre GSO, System Control Centre

 Operating Order Ontario IESO

 MISO – St. Paul MHEB OASIS

 File 240801