## Slide 1: Local Area Study
Uncertainty Scenarios
For Consideration
and Next Steps
2012 - 2013
Notes: Intro page/ Place holder

## Slide 2: Uncertainty Scenarios
Suggestions:
High Wind Generation NOGF’s
  Suggested by stakeholder
High Wind System Wide
  Existing Projects dispatched to capacity
Loss of Thermal Plants
  Heavy Imports, Heavy Summer
Loss of Hydros
  Extreme Winter Conditions
Other?

## Slide 3: Next Steps
Quarter 7
Finalize Mitigation Plans under review or in progress
Run Uncertainty Scenarios
Perform Reactive Resource Assessment
Quarter 8
Finalize “The Book”
Conduct Public Meetings
Questions/Comments?