## PGE TSNs
Scheduling Identifiers Necessary for use in PGE's Scheduling and Load/Resource Balancing System | [6 empty] | 2016-10-05 | 14
Required
Type | Number | MW | Description | TCH | POR | POD | Source or Sink | Start | Stop
RSG | 107RSG | 150* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when PGE delivers reserves at Mid-C from its Mid-C generation. The E-Tags are created after the fact and ATC is not affected. | PGEM | PGE.MIDC | MIDC | NWPP_RS_DEL | 2008-05-01 | 2030-01-01
RSG | 108RSG | 150* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when reserves are delivered to PGE at Mid-C. The E-Tags are created after the fact and ATC is not affected. | PGEM | MIDC | PGE.MIDC | NWPP_RS_REC | 2008-05-01 | 2030-01-01
RSG | 109RSG | 150* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when PGE delivers reserves from its Colstrip generation. The E-Tags are created after the fact and ATC is not affected. | PGEM | PGE.COLSTRIP | COLSTRIP | NWPP_RS_DEL | 2008-05-01 | 2030-01-01
RSG | 110RSG | 150* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when reserves are delivered to PGE at Colstrip. The E-Tags are created after the fact and ATC is not affected. | PGEM | Colstrip | PGE.COLSTRIP | NWPP_RS_REC | 2008-05-01 | 2030-01-01
SPD | 107 | 2000 | PGE Marketing’s scheduling point designation (SPD) for deliveries at Mid-C to any DNCA at MIDC except BPAT. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s scheduling and load/resource balancing system. | PGEM | PGE.MIDC | MIDC | MIDC | 2004-01-01 | 2030-01-01
SPD | 108 | 2000 | PGE Marketing’s scheduling point designation for receipt of energy at Mid-C from any party. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s scheduling and load/resource balancing system. | PGEM | MIDC | PGE.MIDC | MIDC | 2004-01-01 | 2030-01-01
SPD | 109 | 1000 | PGE Marketing’s scheduling point designation (SPD) for deliveries at Colstrip to any entity. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s scheduling and load/resource balancing system. | PGEM | PGE.COLSTRIP | Colstrip | Colstrip | 2004-01-01 | 2030-01-01
SPD | 110 | 1000 | PGE Marketing’s scheduling point designation (SPD) for receipt of energy at Colstrip from any entity. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s scheduling and load/resource balancing system. | PGEM | Colstrip | PGE.COLSTRIP | Colstrip | 2004-01-01 | 2030-01-01
SDT | 117 | 300 | PGE Marketing’s scheduling point designation (SPD) for delivery of energy within PGE system to other Marketers. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s scheduling and load/resource balancing system. | PGEM | PGE | PGE.INTERNAL |  | 2005-01-01 | 2030-01-01
SPD | 119 | 2000 | PGE Marketing’s scheduling point designation (SPD) for deliveries at MIDCREMOTE to DNCA BPAT only. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s load tracking system. | PGEM | PGE.MIDC | MIDCREMOTE | MIDC | 2007-04-01 | 2030-01-01
SPD | 120 | 2000 | PGE Marketing’s scheduling point designation (SPD) for receipt of energy at MIDCREMOTE from DNCA BPAT only. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s load tracking system. | PGEM | MIDCREMOTE | PGE.MIDC | MIDC | 2010-09-01 | 2030-01-01
SPD | 123 | 700 | PGE Marketing’s scheduling point designation (SPD) for Boardman generation entering the grid at Slatt. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s load tracking system. | PGEM | PGE.SLATT | SLATT | BOARDMAN | 2007-04-01 | 2030-01-01
SPD | 124 | 50 | PGE Marketing's scheduling point designation (SPD) for the delivery of Station Service to Boardman at Slatt from BPA. Transmission service from BPA, and possibly others depending upon the source, is required to deliver to Slatt, but no PGE transmission is involved once delivered to the substation at Slatt, the scheduling identifier is an internal convention used in PGE's load tracking system since the station service is a remote PGE load. | PGEM | SLATT | PGE.SLATT | BOARDMAN | 2010-01-08 | 2030-01-01
SPD | 125 | 300 | PGE Marketing’s scheduling point designation (SPD) for Coyote Springs generation delivered to CoyoteSprng1 POD . No transmission is involved, the scheduling identifier is an internal convention used in PGE’s scheduling and load/resource balancing system. | PGEM | PGE.COYSPR1 | COYOTESPRNG1 | COYSPR1 | 2007-04-01 | 2030-01-01
SPD | 126 | 50 | PGE Marketing's scheduling point designation (SPD) for the delivery of Station Service to Coyote Springs at COYOTESPRNG1 from BPA. Transmission service from BPA, and possibly others depending upon the source, is required to deliver to COYOTESPRNG1, but no PGE transmission is involved once delivered to the substation at COYOTESPRNG1, the scheduling identifier is an internal convention used in PGE's load tracking system since the station service is a remote PGE load.. | PGEM | COYOTESPRNG1 | PGE.COYSPR1 | COYSPR1 | 2010-01-08 | 2030-01-01
SPD | 127 | 1400 | PGE Marketing’s scheduling point designation (SPD) for Beaver and Port Westward generation delivered to Trojan No transmission is involved, the scheduling identifier is an internal convention used in PGE’s scheduling and load/resource balancing system. | PGEM | PGE.TROJAN | TROJAN | BEAVER or PORT WESTARD | 2009-06-15 | 2030-01-01
SPD | 128 | 100 | PGE Marketing's scheduling point designation (SPD) for the delivery of Station Service to Carty at Slatt from BPA. Transmission service from BPA, and possibly others depending upon the source, is required to deliver to Slatt, but no PGE transmission is involved once delivered to the substation at Slatt, the scheduling identifier is an internal convention used in PGE's load tracking system since the station service is a remote PGE load. | PGEM | SLATT | PGE.SLATT | CARTY | 2015-11-01 | 2030-01-01
SPD | 129 | 500 | PGE Marketing’s scheduling point designation (SPD) for Carty generation entering the grid at Slatt. No transmission is involved, the scheduling identifier is an internal convention used in PGE’s load tracking system. | PGEM | PGE.SLATT | SLATT | CARTY | 2015-11-01 | 2030-01-01
Types: | SPD - Scheduling Point Designation RSG - Reserve Sharing Group Transaction SDT - System Delivery Transaction * Because these are after-the-fact E-Tags, the MW values in this column are only necessary as a placeholder to fill a required field in the OATi validation software. There is no affect on ATC.
Unique Scheduling Identifiers Required for Certain OASIS Posted Paths
Type | Number | MW | Description | TCH | POR | POD | Source or Sink | Start | Stop
GF | 112 | 100 | Used as the scheduling identifier for the grandfathered firm transmission used by BPAP for delivery of energy to BPAP borderline loads within PGE Control Area. | BPA | BPAT.PGE | PGE | BPAPBL | 2004-03-01 | 2030-01-01
GF | 114 | 10 | Used as the scheduling identifier for the grandfathered firm transmission used by PacifiCorp for delivery of energy to PacifiCorp borderline loads within PGE Control Area. | PACOI | PACW | PGE | PACWBL | 2003-01-01 | 2030-01-01
GF | 115 | 260 | Used as the scheduling identifier for the grandfathered firm transmission used by PGEM for delivery of energy of Round Butte and Pelton generators to BPAT BAA | PGEM | RoundButte | Redmond |  | 2016-08-01 | 401769
OS | 100 | 100 | Used as the scheduling identifier for the return of losses to PGE System from BPAT BAA only, as provided for in PGE's OATT. The TC for this path segment on e-Tag is always PGE. For use by any Transmission Customer | PGE | BPAT.PGE | PGE | PGELOSS | 2004-12-10 | 2030-01-01
OS | 200 | 20 | Used as the scheduling identifier for the return of losses to PGE System from PACW BAA only, as provided for in PGE's OATT. The TC for this path segment on e-Tag is always PGE. For use by any Transmission Customer | PGE | PACW | PGE | PGELOSS | 2005-06-01 | 2030-01-01
RSG | 103RSG | 150* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when PGE delivers reserves through BPAT. The E-Tags are created after the fact and ATC is not affected. | PGEM | PGE | BPAT.PGE | NWPP_RS_DEL | 2008-05-01 | 2030-01-01
RSG | 104RSG | 500* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when reserves are delivered to PGE across BPAT. The E-Tags are created after the fact and ATC is not affected. | PGEM | BPAT.PGE | PGE | NWPP_RS_REC | 2008-05-01 | 2030-01-01
RSG | 105RSG | 150* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when PGE delivers reserves across PACW. The E-Tags are created after the fact and ATC is not affected. | PGEM | PGE | PACW | NWPP_RS_DEL | 2008-05-01 | 2030-01-01
RSG | 106RSG | 150* | Scheduling identifier for auto tagged NWPP Reserve Sharing use only, when reserves are delived to PGE across PACW. The E-Tags are created after the fact and ATC is not affected. | PGEM | PACW | PGE | NWPP_RS_REC | 2008-05-01 | 2030-01-01
Types:
DST - Dual Scheduling Entity Transmission (first leg) GF - Grandfathered Transaction (Pre-888) OS - Other Services (Loss Return Transaction) RSG - Reserve Sharing Group Transaction * Because these are after-the-fact E-Tags, the MW values in this column are only necessary as a placeholder to fill a required field in the OATi validation software. There is no impact on ATC.
Revision History
| Date | Rev | Description
| 2008-07-28 | 1 | Initial Posting
| 2008-10-20 | 2 | Changed start date of 103LINKTOJD to be used after 11/1/2008, Cleaned up formating
| 2009-02-10 | 3 | Removed mention of 103LINKTO AC, fixed start date of 103LINKTOJD as 11-1-2008, added Revision History to workbook
| 2009-05-28 | 4 | Added TSN 127 with a start date of June 15, 2009, 1400 MW Fix stop date for 203 to 1/1/2021 Changed stop date to 1/1/2030 on all non ending identifiers Changed Stop date for 121 to 6/15/2009, (transitions to 127) Changed name to "PGE Scheduling Identifiers"
| 2010-01-26 | 5 | Added TSN 124 with a start date of 1/8/2010 to allow the delivery of SS to Boardman Added TSN 126 with a start date of 1/8/2010 to allow the delivery of SS to Coyote Springs Removed TSN 121 Generation Lead for Beaver at Allston, no longer in use
| 2010-09-01 | 6 | Added TSN 120 with a start date of 9/1/2010 to allow receipt from MIDREMOTE
| 2010-12-01 | 7 | Changed Stop date to 3/1/2011 for 103LINKTOJD and 303LINKTOGR
| 2011-03-01 | 8 | Removed 103LINKTOJD and 303LINKTOGR as they are no longer active
| 2011-03-18 | 9 | Increased Capacity of TSNs 123 and 201 to allow testing at Boardman
| 2013-04-26 | 10 | Increased Capacity of TSN 100 to 100 to accommodate heavy loss return schedules, reduced TSN 200 to 20 to expected need, Updated end dates of TSNs 201 and 203
| 2014-01-01 | 11 | TSNs 201 and 203 Terminated, no more GF Contracts on the COI N-S
| 2016-07-13 | 13 | Added TSn 115 with sart date of 08/01/2016 for GF firm ETC on new path
| 2016-10-05 | 14 | Added TSNs 128 and 129 to support Carty scheduling (late entry)

## Revision History
Revision History
Revision # | Date | Description
1 | 2008-07-28 | Initial Posting
2 | 2008-10-20 | Changed start date of 103LINKTOJD to be used after 11/1/2008, Cleaned up formating
3 | 2009-02-10 | Removed mention of 103LINKTO AC, fixed start date of 103LINKTOJD as 11-1-2008, added Revision History to workbook
4 | 2009-05-26 | Added TSN 127 with a start date of June 15, 2009, 1400 MW Fix stop date for 203 to 1/1/2021 Changed Stop date for 121 to 6/15/2009 Changed name to PGE Scheduling Identifiers