Transmission Planning

Attachment K Public Input

Meeting Minutes

Q2

June 28, 2012

Attendees: 	Jamie Austin

Mark Adams

Tom Tjoelker

Nathan Ortega

Dave Hagen

Patty Deas – Scribe

- Purpose of the meeting – Status of the transmission study process

- PacifiCorp published its business practices document on its OASIS website

  - This document contains rules and practices related to transmission service, and planning activates.

- PacifiCorp will review with stakeholders the status of the local transmission planning studies.  Five year studies and reliability assessment studies.

  - Review:

    - Planning process

    - Methodology

    - Criteria, assumptions and database

    - Adjust to make consistent with local planning assumptions and data

  - Study requests

    - Economic studies identify significant and recurring congestion

    - Stakeholders can submit study request through the OASIS process

    - There have been no study request submitted for Q1

    - Next opportunity to submit a request will be in Q5

- Jamie reviewed the 8 quarter process timeline

- Dave Hagen and Tom Tjoelker reviewed the annual reliability assessment

  - PacifiCorp transmission conducts annual transmission reliability assessments

    - Studies are used to determine compliance

    - If there is a reliability deficiency , a proposed transmission project to correct the deficiency is proposed

  - Status of the PacifiCorp local transmission studies

    - Q1 - forecast load & resource data is submitted by all network customers

    - Q2 – Evaluate adequacy of transmission system

      - Based on the forecasted load & resource data, the adequacy of the transmission system is analyzed

    - Q3 Provide load & resource study to network customers

- Nathan Ortega reviewed the main grid transmission studies

- Tom Tjoelker reviewed the local area studies for the Westside

  - Two studies are in process:

    - Willamette Valley / Cottage Grove

      - Well underway

      - Overload on the 150kV on BPA’s Albany substation

    - Medford study is 90% complete

      - There have been many changes since the last study

  - Two studies to being this summer

    - Yereka

    - Central / Oregon

- Mark Adams reviewed the local area studies for the Eastside

  - There are 23-25 study areas

  - Approximately seven studies a year

    - Studies recently completed

  - Four studies have been completed

    - Price

    - SE Utah

    - Sigurd

    - Vernal

    - Public kick-off meetings were held for these studies

  - Four studies underway and should be completed by end of Q2

- Web links were provided for contact information and attachment K related comments / questions

- Meeting adjourned