Transmission Planning

Attachment K Public Input

Meeting Minutes

June 10, 2010

Attendees: 	Jamie Austin

Mark Adams

Ramesh Hariharan

Dave Hagen

Marshall Empy – UAMPS

Cory Scott

Mary Wiencke

Les Bahls

Kenneth Houston

Larry Frick

Scott Wiley – BPA

Purpose of the meeting – Status of the TSP process

- Use the exiting studies

  - Integrate with

  - 5-year area planning studies address the lower voltage 230 kV

- Transmission published the local transmission system planning process practices document in 2006

  - Meant to be a living document

  - Encourage participates to make comments

- Posted on OASIS

  - How to do cluster studies

- For Q1 there were not studies submitted

- Annual Reliability Standards

  - Main grid planning studies

    - Number of study request have increase from 12 studies in 2004 to 60 studies in 2009

- Question from Marshall - How are you modeling the MOU between PacifiCorp and Idaho?

  - From a stimulation aspect, it doesn’t matter who owns it

- Process of how the five year studies are put together

  - Local area load services look at the

  - Look at each area on a three year cycle

  - Use the latest load and resource plan that is available

  - Goal of the study is to look at power flows

    - Actually look out 10 years

  - Construction plan for each area by year that is need on the transmission lines for load growth

  - Studies in process:

    - Roseburg is nearing completion

      - Finishing the power load study

    - Dalreed

      - Draft of study is complete

      - Small study

    - Portland

      - Base case development is still being complete

      - System in Portland is interconnected with PGE and requires the latest requirements from PGE

    - Klamath Falls

      - Will be combining Klamath Falls and Lakeview Alturas

    - Willamette Valley/Cottage Grove

      - Will start this study after the Portland study is complete

- East side planning studies

  - Five studies are in process for completion in 2010

    - Malad and Montpellier have been complete and there have been public completion meetings held

    - All five studies have had public kick-off meeting

- Assumptions

  - L&R studies are collected in the first quarter

  - Assumption tie together and there are different needs

    - Summer/winter

- Jamie opened the floor for questions

  - No questions were asked