## Sheet1
Data Type | Resource Information | Notes/Definitions
Customer Information
Customer Name
Customer Contact Name
Contact Phone Number
Contact Email Address
Resource Basic Info
Resource Name
Fuel Type |  | Primary fuel type: BGAS - Bio Gas (Landfill, Sewage, Digester, etc.), BIOM - Biomass, COAL - Coal, DDR - Dispatchable Demand Response, DIST - DIST, GAS - Natural Gas, GEOT -Geothermal, HRCV - HRCV, LESR - Limited Energy Storage Resource, NUCL - Nuclear, OIL - Oil, OTHR - Other, SOLR - Solar, WAST - Waste to Energy, WATR - Water, WIND - Wind
Prime Mover Technology |  | Prime mover technology: CCYC - Combined Cycle, GTUR - Gas Turbine, HYDR - Hydro Turbine, OTHR - Other, PHOT - Photovoltaic, PTUR - Hydro Pump-Turbine, PUMP - Pump, RECP - Reciprocating Engine, STUR - Steam Turbine, SYNC - Synchronous Condenser, WIND - Wind Turbine
Maximum Generation Capacity (MW) |  | If unknown supply nameplate value
Minimum Generation Capacity (MW) |  | For a Generating Unit, the minimum hourly integrated value for which the Generating Unit could be scheduled
Minimum Off Time (Minutes) |  | *Typically only applies to gas plants, should be 0 for all others. Must be at least as long as the 'Start-Up Time' cell below.
Maximum Startups Per Day |  | If unknown, default to 1, must be at least 1
Is Resource Variable Energy (Y/N) |  | Wind, Solar
VER Forecast Selection |  | Who provides Variable Energy Resource forecast?
Startup Info |  | *Hot, Warm and Cold Startup information only applies to steam, gas turbines. Wind/hydor/solar units only need the initial Startup time. All three stages are not required. If info not available assume only hot startups with 0 as the required cooling time.
Hot Startup
Required Cooling Time (Minutes) | 0 | How are the cooling time ranges defined by the resource owner. Example: Utility X defines a hot startup as the resource being offline for 0 to 6 hours, a warm startup from 6 to 48 hours and cold anything over 48 hours. Hot startup must be 0 to account for a unit that was just shut down
Start-Up Time (Minutes) |  | How long does it take for the resource to reach the minimum generation level (Pmin) from a hot startup
Warm Startup
Required Cooling Time (Minutes)
Start-Up Time (Minutes) |  | How long does it take for the resource to reach the minimum generation level (Pmin) from a warm startup
Cold Startup
Required Cooling Time (Minutes)
Start-Up Time (Minutes) |  | How long does it take for the resource to reach the minimum generation level (Pmin) from a cold startup
Ramp Rate Info |  | Up to 5 points allowed on the ramp rate curve for each resource but only 2 are required (PMin and PMax)
Segment 1
Operating Level (MW) |  | Operating Level is the Generating Unit MW output at this point on the ramp rate curve. The first point of MW output must be the unit's PMin. The last point must be the unit's PMax.
Worst Operational Ramp Rate (MW/Minute) |  | Worst Operational Ramp Rate is the maximum ramp rate (MW/minute) under the worst operating conditions of the unit between this point on the ramp rate curve and the next point. If unknown use average ramp rate.
Best Operational Ramp Rate (MW/Minute) |  | Best Operational Ramp Rate is the maximum ramp rate (MW/minute) under the best operating conditions of the unit between this point on the ramp rate curve and the next point. If unknown use average ramp rate.
Segment 2
Operating Level (MW)
Worst Operational Ramp Rate (MW/Minute)
Best Operational Ramp Rate (MW/Minute)
Segment 3
Operating Level (MW)
Worst Operational Ramp Rate (MW/Minute)
Best Operational Ramp Rate (MW/Minute)
Segment 4
Operating Level (MW)
Worst Operational Ramp Rate (MW/Minute)
Best Operational Ramp Rate (MW/Minute)
Segment 5
Operating Level (MW)
Worst Operational Ramp Rate (MW/Minute)
Best Operational Ramp Rate (MW/Minute)