## Rate Summary
Exhibit No. PAC-17
Rate Summary
PacifiCorp
Rate Summary
| Weighted Cost $/kW | Avg Reserves Held (kW - 2015) | Revenue Requirement $ | Billing Determinant (MW) | Description of Billing Determinant | Rates ($/MWh)
| a | b | c = a*b | d | e | f = c/d
Contingency Reserves
Schedule 5 (Spinning Reserves) | 110.8007 | 232132.5932 | 25720463.1488 | 135565434.4467 | Hourly integrated load and generation (MW) | 0.18973
|  | Spinning % | 1.5%
Schedule 6 (Supplemental Reserves) | 136.2139 | 222465.9335 | 30302953.3537 | 129920105.1808 | Hourly integrated load and generation (MW) | 0.23324
|  | Supplemental % | 1.5%
|  | Total reserve % for Schedules 5 & 6 | 3%
* Schedule 5 & 6 rates are energy-based charges billed in dollars per Megawatt-hour ($/MWh) only.
| Weighted Cost $/kW | Regulation Reserve Requirement (kW) | Revenue Requirement $ | Billing Determinant (MW) | Description of Billing Determinant | Rates ($/MW-year) |  | Rates ($/kW-year)
| a | b | c = a*b | d | e | f = c/d |  | g = f/1000
Regulation and Frequency Response
Schedule 3 (Load) | 109.1403 | 270586.7322 | 29531911.5649 | 9695.8803 | 12 CP (CY 2015) | 3045.8205 |  | 3.0458
Schedule 3/3A (Non-VER) | 109.1403 | 51600.6827 | 5631712.9311 | 2227.65 | Nameplate capacity | 2528.0959 |  | 2.5281
Schedule 3/3A (VER) | 109.1403 | 239945.2637 | 26187693.1236 | 2587.65 | Nameplate capacity | 10120.2609 |  | 10.1203
Total Schedule 3/3A Requirement |  | 562132.6786
| Service Increment | Period | Unit | Schedule 3 - Load | Schedule 3/3A -Non-VER | Schedule 3/3A - VER
| Yearly |  | $/MW-year | 3045.8205 | 2528.0959 | 10120.2609
| Monthly |  | $/MW-month | 253.818 | 210.675 | 843.355
| Weekly |  | $/MW-week | 58.573 | 48.617 | 194.62
| Daily | On peak | $/MW-day | 11.715 | 9.723 | 38.924
| Daily | Off peak | $/MW-day | 8.368 | 6.945 | 27.803
| Hourly | On peak | $/MWh | 0.732 | 0.608 | 2.433
| Hourly | Off peak | $/MWh | 0.349 | 0.289 | 1.158

## Attachment A (FCR)
Exhibit No. PAC-17
Attachment A
PacifiCorp
Fixed Charge Rate Worksheet*
Reference in Production FCR Formula (Exhibit No. PAC-16)
Amount
1 | Plant Calculations**
2 | Total Production Plant in Service | line 17 |  |  | 11946113347.4138
3 | General and Intangible Plant allocated to Production | line 22 |  |  | 1012095511.8461
4 | Plant/Land Held for Future Use | line 23 |  |  | 8923301
5 | A: Total Plant - Gross | line 24 |  |  | 12967132160.26
6 | Accumulated Depreciation and Amortization**
7 | Production Accumulated Depreciation | line 25 |  |  | 4058847480.9808
8 | General and Intangible Accum. Depr. allocated to Production | line 30 |  |  | 489556824.4876
9 | B: Total Accumulated Depreciation and Amortization | line 31 |  |  | 4548404305.4683
10 | C: Total Production Property, Plant and Equipment - NET (A-B) | line 32 |  |  | 8418727854.7916
Adjustments to total Production Net PPE
11 | Accumulated Deferred Income Taxes | line 33 |  |  | -2209040592.3237
12 | Income Tax Credit (ITC) Adjustment | line 35 |  |  | -278416.8736
13 | Unfunded Reserves | line 36 |  |  | -67715842.8172
14 | Prepayments | line 37 |  |  | 16104051.3296
15 | Materials and Supplies Allocated to Production | line 46 |  |  | 341833914.6306
16 | Cash Working Capital | line 49 |  |  | 0
17 | D: Total Adjustments to Production Plant | line 51 |  |  | -1919096886.0543
18 | E: Total Net Production Plant Investment with adjustments (C+D) | line 52 |  |  | 6499630968.7373
19 | Rate of Return on Rate Base : |  | % | cost | weighted cost
20 | Long Term Debt (WDTLTD) | line 117; line 120 | 49.26% | 5.12% | 2.522%
21 | Preferred Stocks | line 118; line 121 | 0.01661% | 6.753% | 0.001122%
22 | Common Stocks | line 119; line 122 | 50.72% | 9.8% | 4.971%
23 | F: Overall Rate of Return (ROR) |  |  |  | 7.494%
24 | G: Composite Tax Rate (CIT) | line 131 |  |  | 37.95%
25 | H: Return on Net Production Plant Investment (E*F) | line 127 |  |  | 487081941.7409
26 | Income taxes
27 | Production CIT | line 135 | (T/(1-T))*(ROR net Plant))*(1-(WDTLTD/ROR)) |  | 197646720.2678
28 | ITC Adjust. Allocated to Production - Grossed Up | line 134 |  |  | -3795328.6204
29 | I: Total Income Taxed Production |  |  |  | 193851391.6474
30 | J: Administrative & General Expenses Allocated to Production | line 75 |  |  | 55674990.6567
31 | Depreciation & Amortization Expense
32 | Production Depreciation Expense | line 76 |  |  | 419891537
33 | General Depreciation and Intangible Amortization Functionalized to Production | line 81 |  |  | 35527244.9683
34 | K: Total Production Depreciation and Amortization | line 83 |  |  | 455418781.9683
35 | L: Taxes Other Than Income Taxes allocated to Production | line 85 |  |  | 67764614.4977
36 | M: Gross Revenue Requirement for Production Plant (H+I+J+K+L) | line 145 |  |  | 1259791720.5109
37 | N: Less Production-related Revenue Credits | line 152 |  |  | 2561388.1271
38 | O: Net Revenue Requirement for Production Plant (M-N) | line 153 |  |  | 1257230332.3838
39 | Net Production Plant
40 | Total Production Plant | line 17 |  |  | 11946113347.4138
41 | Less Production Accumulated Depreciation | line 25 |  |  | 4058847480.9808
42 | P: Net Production Plant | line 155 |  |  | 7887265866.4331
43 | Total Net Production Plant Carrying Charge without O&M (Fixed Charge Rate)-(O/P) | line 156 |  | Attach. B, p.3-5 -------> | 15.94%
* This worksheet represents a condenced version of Production Fixed Charge Rate Formula. For more details, please refer to Production Fixed Charge Rate Formula in Exhibit No. PAC-16.
**All gross plant and accumulated depreciation values are net of AROs.

## Attachment B_NP (p.1)
Exhibit No. PAC-17
Attachment B
Page 1
PacifiCorp
Net Plant Investments
| Plant | Type | Installed Cost (gross plant) FN1 page 402.17 | Accumulated Depreciation Reserves | Net Plant (a-b) | ARO Electric Plant FN1 page 402.16 | ARO Depreciation Reserves | ARO Net book value (d-e) | Net Plant Investments w/o ARO (c-f) | Total Installed capacity (kW) FN1 page 402.5 | Net Plant Investments per (kW) (g/h) Attach.B, p.3-5
|  |  | a | b | c | d | e | f | g | h | i
1 | Cholla | Steam | 561913986 | 217053043.95 | 344860942.05 | 19325010 | -1157690.96 | 18167319.04 | 326693623.01 | 414000 | 789.115
2 | Currant Creek | Gas | 372559566 | 83847014.29 | 288712551.71 | 134848 | -42095 | 92753 | 288619798.71 | 566900 | 509.1194
3 | Dave Johnston | Steam | 1036155368 | 378881851.64 | 657273516.36 | 17242673 | -10042823.35 | 7199849.65 | 650073666.71 | 816770 | 795.9079
4 | Gadsby Steam | Steam | 84766023 | 79234762.55 | 5531260.45 | 1132809 | -606674.34 | 526134.66 | 5005125.79 | 251640 | 19.89
5 | Gadsby Peakers | Gas | 82339278 | 29587771.97 | 52751506.03 | 0 | 0 | 0 | 52751506.03 | 181050 | 291.3643
6 | Hunter Unit No. 1 | Steam | 453935102 | 178020095.9146 | 275915006.0854 | 2501143 | -375432.9923 | 2125710.0077 | 273789296.0777 | 457730 | 598.1458
7 | Hunter Unit No. 2 | Steam | 310203843 | 121652891.8795 | 188550951.1205 | 2501143 | -256558.1655 | 2244584.8345 | 186306366.2859 | 294460 | 632.7052
8 | Hunter Unit No. 3 | Steam | 535041376 | 209827608.9559 | 325213767.0441 | 2501143 | -442513.0022 | 2058629.9978 | 323155137.0464 | 495590 | 652.0615
9 | Huntington | Steam | 863932096 | 305499287.48 | 558432808.52 | 10624210 | -1051561.31 | 9572648.69 | 548860159.83 | 996000 | 551.0644
10 | Lake Side 1 | Gas | 387397890 | 21386224.63 | 366011665.37 | 0 | 0 | 0 | 366011665.37 | 591300 | 618.9949
11 | Lake Side 2 | Gas | 638551049 | 32439136.9 | 606111912.1 | 0 | 0 | 0 | 606111912.1 | 655200 | 925.0792
12 | Naughton | Steam | 819715969 | 79234762.55 | 740481206.45 | 47409550 | -15802888.36 | 31606661.64 | 708874544.81 | 707200 | 1002.3679
13 | Wyodak | Steam | 451393536 | 191558481.49 | 259835054.51 | 652977 | -237765.71 | 415211.29 | 259419843.22 | 289660 | 895.6012
14 | Oneida | Hydro | 15066831 | 6384980.94 | 8681850.06 | 0 | 0 | 0 | 8681850.06 | 30000 | 289.395
15 | Cutler | Hydro | 31936311 | 11622549.56 | 20313761.44 | 0 | 0 | 0 | 20313761.44 | 30000 | 677.1254
16 | Monsanto | Contract
17 | Nucor | Contract
18 | Magcorp | Contract
19 | Chehalis | Gas | 348757908 | 79875785.92 | 268882122.08 | 1030777 | -251080.24 | 779696.76 | 268102425.32 | 593300 | 451.8834
20 | Hermiston | Gas | 177011014 | 70941389.82 | 106069624.18 | 407646 | -214372.67 | 193273.33 | 105876350.85 | 279560 | 378.725
21 | Mid-Columbia Hydro | Contract
22 | Swift No. 1 | Hydro | 158202963 | 42011977.14 | 116190985.86 | 0 | 0 | 0 | 116190985.86 | 240000 | 484.1291
23 | Yale | Hydro | 73530182 | 30271920.14 | 43258261.86 | 0 | 0 | 0 | 43258261.86 | 134000 | 322.8228
24 | Jim Bridger | Steam | 1263769158 | 558797047.06 | 704972110.94 | 19511387 | -5157672.87 | 14353714.13 | 690618396.81 | 1550650 | 445.3735
*Gross plant, accumulated depreciation and ARO reserves represent account balances at December 31, 2015.

## Attachment B_O&M (p.2)
Exhibit No. PAC-17
Attachment B
Page 2
PacifiCorp
Demand Related Expenses for Participating Units
| Plant | Type | Operation Supervision and Engineering FERC 500 (FN1, page 402, 406, 410) | Steam/Hydraulic Expenses FERC 502 (FN1, page 402, 406, 410) | Electric/Hydraulic Expenses FERC 505 (FN1, page 402, 406, 410) | Misc Steam (Hydraulic) Power Expenses FERC 506 (FN1, page 402, 406, 410) | Rents FERC 507 (FN1, page 402, 406, 410) | Maintenance of Structures FERC 511 (FN1, page 402, 406, 410) | Maintenance of Misc Steam/Hydraulic Plant FERC 514 (FN1, page 402, 406, 410) | Adjustments to FERC 506 (1) | Total Demand Related Expenses (sum((a):(h)) or contract costs | Total Installed capacity (kW) (FF1, page 402, 406, 410) | Total O&M per KW (Attach.B, p. 3-5)
|  |  | a | b | c | d | e | f | g | h | (i)=sum((a):(h) | j | k = (i)/(j)
1 | Cholla | Steam | 1439756 | 7969920 | 717209 | 1021693 | 0 | 1392665 | 3230982 |  | 15772225 | 414000 | 38.0972
2 | Currant Creek | Gas | 86128 | 0 | 1910526 | 690551 | 0 | 440419 | 21504 |  | 3149128 | 566900 | 5.555
3 | Dave Johnston | Steam | 392819 | 4380486 | 0 | 16663534 | 55062 | 2425506 | 1327573 |  | 25244980 | 816770 | 30.9083
4 | Gadsby Steam | Steam | 79707 | 117579 | 0 | 3866855 | 0 | 155804 | 253266 |  | 4473211 | 251640 | 17.7762
5 | Gadsby Peakers | Gas | 0 | 0 | 632475 | 0 | 0 | 184185 | 164169 |  | 980829 | 181050 | 5.4174
6 | Hunter Unit No. 1 | Steam | 0 | 6687851 | 0 | -1109143 | 0 | 2778774 | 382638 | 3010602.95 | 11750722.95 | 457730 | 25.6717
7 | Hunter Unit No. 2 | Steam | 0 | 4609812 | 0 | -9619104 | 0 | 2455295 | 382227 | 5789014.39 | 3617244.39 | 294460 | 12.2843
8 | Hunter Unit No. 3 | Steam | 0 | 7173271 | 331 | -372129 | 0 | 2803307 | 448413 | 3203569.8 | 13256762.8 | 495590 | 26.7495
9 | Huntington | Steam | 7391 | 12982916 | 0 | -21538635 | 0 | 3248282 | 936785 | 29915292.47 | 25552031.47 | 996000 | 25.6547
10 | Lake Side 1 | Gas | 61947 | 0 | 2814096 | 583997 | 0 | 2830122 | 17480 |  | 6307642 | 591300 | 10.6674
11 | Lake Side 2 | Gas | 71591 | 0 | 2414966 | 617666 | 0 | 745262 | 16896 |  | 3866381 | 655200 | 5.9011
12 | Naughton | Steam | 392979 | 7959262 | 1012 | 9107751 | 964 | 1243854 | 1100841 |  | 19806663 | 707200 | 28.0072
13 | Wyodak | Steam | 28095 | 4558432 | 0 | 3170165 | 18807 | 292258 | 124077 |  | 8191834 | 289660 | 28.2809
14 | Oneida | Hydro | 97816 | 32579 | 0 | 803125 | 10797 | 10323 | 34440 |  | 989080 | 30000 | 32.9693
15 | Cutler | Hydro | 93553 | 91134 | 0 | 1094323 | 11841 | 3908 | 284877 |  | 1579636 | 30000 | 52.6545
16 | Monsanto | Contract | [8 empty] | 14986518.47 | 80073 | 187.1607
17 | Nucor | Contract | [8 empty] | 6273000 | 46430 | 135.1066
18 | Magcorp | Contract | [8 empty] | 6564145.89 | 74904 | 87.6341
19 | Chehalis | Gas | 151945 | 0 | 2245195 | 706444 | 0 | 28021 | 0 |  | 3131605 | 593300 | 5.2783
20 | Hermiston | Gas | 0 | 0 | 7720793 | 0 | 0 | 0 | 0 |  | 7720793 | 279560 | 27.6177
21 | Mid-Columbia Hydro | Contract | [8 empty] | 5557213.41 | 50544.2666 | 109.9475
22 | Swift No. 1 | Hydro | 2495852 | 0 | 1556708 | 678442 | 185191 | 30657 | 547838 |  | 5494688 | 240000 | 22.8945
23 | Yale | Hydro | 1445241 | 0 | 744583 | 570766 | 103398 | 29123 | 325716 |  | 3218827 | 134000 | 24.0211
24 | Jim Bridger | Steam | 12558828 | 23021177 | 0 | -23806621 | 291223 | 12048778 | 1865553 |  | 25978938 | 1550650 | 16.7536
(1) | Adjustments to eliminate the effect of one-time accounting entries for joint-owner transactions posted in 2015. See T. Dinehart's testimony for details.

## Attachment B_cost (pp.3-5)
[12 empty] | Exhibit No. PAC-17 | [12 empty] | Exhibit No. PAC-17 | [12 empty] | Exhibit No. PAC-17
[12 empty] | Attachment B | [12 empty] | Attachment B | [12 empty] | Attachment B
[12 empty] | Page 3 | [12 empty] | Page 4 | [12 empty] | Page 5
PacifiCorp | [12 empty] | PacifiCorp | [12 empty] | PacifiCorp
Schedule 3/3A - Regulation and Frequency Response Service | [12 empty] | Schedule 5 - Operating Reserves - Spinning Reserve | [12 empty] | Schedule 6 - Operating Reserve - Supplemental Reserve
Line No | Plant | Type | Total Installed capacity (MW) | Reserve Study Available Capacity (MW) - Attach. D, p.1 | Reserve Study Cumulative Avail. Cap. (MW) Attach. D, p.1 | Reserve Study Expected Participation Attach. D, p.1 | Net Investment Cost/kW Attach. B, p. 1 | Annual Carrying Cost per kW (f) x 15.94% Attach. A (FCR) | Operation and Maintenance Cost per kW Attach. B, p.2 | Wheeling Cost per kW (FERC 565) Attach. E | Credit for Contributions to Reactive Power Service per kW Attach. C | Weighted Annual Cost per kW ((g)+(h)+(i)-(j))*(e) | Line No | Plant | Type | Total Installed capacity (MW) | Reserve Study Available Capacity (MW) - Attach. D, p.1 | Reserve Study Cumulative Avail. Cap. (MW) Attach. D, p.1 | Reserve Study Expected Participation Attach. D, p.1 | Net Investment Cost/kW Attach. B, p. 1 | Annual Carrying Cost per kW (f) x 15.94% Attach. A (FCR) | Operation and Maintenance Cost per kW Attach. B, p.2 | Wheeling Cost per kW (FERC 565) Attach. E | Credit for Contributions to Reactive Power Service per kW Attach. C | Weighted Annual Cost per kW ((g)+(h)+(i)-(j))*(e) | Line No | Plant | Type | Total Installed capacity (MW) | Reserve Study Available Capacity (MW) - Attach. D, p.1 | Reserve Study Cumulative Avail. Cap. (MW) Attach. D, p.1 | Reserve Study Expected Participation Attach. D, p.1 | Net Investment Cost/kW Attach. B, p. 1 | Annual Carrying Cost per kW (f) x 15.94% Attach. A (FCR) | Operation and Maintenance Cost per kW Attach. B, p.2 | Wheeling Cost per kW (FERC 565) Attach. E | Credit for Contributions to Reactive Power Service per kW Attach. C | Weighted Annual Cost per kW ((g)+(h)+(i)-(j))*(e)
| a |  | b | c | d | e | f | g | h | i | j | k |  | a |  | b | c | d | e | f | g | h | i | j | k |  | a |  | b | c | d | e | f | g | h | i | j | k
1 | Cholla | Steam | 414 | 3.9784 | 3.9784 | 0.7077% | 789.115 | 125.785 | 38.0972 | 35.9217 | 0.82724 | 1.4082 | 1 | Cholla | Steam | 414 | 2.5849 | 2.5849 | 1.114% | 789.115 | 125.785 | 38.0972 | 35.9217 | 0.82724 | 2.2157 | 1 | Cholla | Steam | 414 | 1.0146 | 1.0146 | 0.4561% | 789.115 | 125.785 | 38.0972 | 35.9217 | 0.82724 | 0.90745
2 | Currant Creek | Gas | 566.9 | 28.6262 | 32.6045 | 5.092% | 509.1194 | 81.1536 | 5.555 | - | 1.3428 | 4.3472 | 2 | Currant Creek | Gas | 566.9 | 33.8154 | 36.4003 | 14.57% | 509.1194 | 81.1536 | 5.555 | - | 1.3428 | 12.4355 | 2 | Currant Creek | Gas | 566.9 | 10.3949 | 11.4095 | 4.673% | 509.1194 | 81.1536 | 5.555 | - | 1.3428 | 3.9888
3 | Dave Johnston | Steam | 816.77 | 20.4682 | 53.0728 | 3.641% | 795.9079 | 126.8677 | 30.9083 | - | 0.53544 | 5.7254 | 3 | Dave Johnston | Steam | 816.77 | 0 | 36.4003 | - | 795.9079 | 126.8677 | 30.9083 | - | 0.53544 | 0 | 3 | Dave Johnston | Steam | 816.77 | 0 | 11.4095 | - | 795.9079 | 126.8677 | 30.9083 | - | 0.53544 | 0
4 | Gadsby Steam | Steam | 251.64 | 19.4619 | 72.5347 | 3.462% | 19.89 | 3.1705 | 17.7762 | - | 0.47127 | 0.70889 | 4 | Gadsby Steam | Steam | 251.64 | 8.1056 | 44.5059 | 3.492% | 19.89 | 3.1705 | 17.7762 | - | 0.47127 | 0.71496 | 4 | Gadsby Steam | Steam | 251.64 | 3.2145 | 14.624 | 1.445% | 19.89 | 3.1705 | 17.7762 | - | 0.47127 | 0.29586
5 | Gadsby Peakers | Gas | 181.05 | 5.2638 | 77.7986 | 0.9364% | 291.3643 | 46.4435 | 5.4174 | - | 2.1491 | 0.4655 | 5 | Gadsby Peakers | Gas | 181.05 | 5.2962 | 49.802 | 2.282% | 291.3643 | 46.4435 | 5.4174 | - | 2.1491 | 1.1342 | 5 | Gadsby Peakers | Gas | 181.05 | 1.7776 | 16.4016 | 0.799% | 291.3643 | 46.4435 | 5.4174 | - | 2.1491 | 0.39722
6 | Hunter Unit No. 1 | Steam | 457.73 | 19.6131 | 97.4116 | 3.489% | 598.1458 | 95.3445 | 25.6717 | - | 0.55312 | 4.203 | 6 | Hunter Unit No. 1 | Steam | 457.73 | 8.0176 | 57.8196 | 3.454% | 598.1458 | 95.3445 | 25.6717 | - | 0.55312 | 4.1607 | 6 | Hunter Unit No. 1 | Steam | 457.73 | 2.5417 | 18.9433 | 1.143% | 598.1458 | 95.3445 | 25.6717 | - | 0.55312 | 1.3763
7 | Hunter Unit No. 2 | Steam | 294.46 | 18.0292 | 115.4409 | 3.207% | 632.7052 | 100.8532 | 12.2843 | - | 0.55312 | 3.6109 | 7 | Hunter Unit No. 2 | Steam | 294.46 | 7.8767 | 65.6963 | 3.393% | 632.7052 | 100.8532 | 12.2843 | - | 0.55312 | 3.8202 | 7 | Hunter Unit No. 2 | Steam | 294.46 | 2.6575 | 21.6008 | 1.195% | 632.7052 | 100.8532 | 12.2843 | - | 0.55312 | 1.3449
8 | Hunter Unit No. 3 | Steam | 495.59 | 16.8014 | 132.2423 | 2.989% | 652.0615 | 103.9386 | 26.7495 | - | 0.55312 | 3.8896 | 8 | Hunter Unit No. 3 | Steam | 495.59 | 5.7453 | 71.4416 | 2.475% | 652.0615 | 103.9386 | 26.7495 | - | 0.55312 | 3.2208 | 8 | Hunter Unit No. 3 | Steam | 495.59 | 1.8604 | 23.4612 | 0.8363% | 652.0615 | 103.9386 | 26.7495 | - | 0.55312 | 1.0883
9 | Huntington | Steam | 996 | 19.9914 | 152.2337 | 3.556% | 551.0644 | 87.8397 | 25.6547 | - | 0.25777 | 4.0271 | 9 | Huntington | Steam | 996 | 11.0919 | 82.5335 | 4.778% | 551.0644 | 87.8397 | 25.6547 | - | 0.25777 | 5.4107 | 9 | Huntington | Steam | 996 | 3.9141 | 27.3753 | 1.759% | 551.0644 | 87.8397 | 25.6547 | - | 0.25777 | 1.9923
10 | Lake Side 1 | Gas | 591.3 | 22.3122 | 174.5459 | 3.969% | 618.9949 | 98.6678 | 10.6674 | - | 1.0848 | 4.2967 | 10 | Lake Side 1 | Gas | 591.3 | 26.4425 | 108.976 | 11.39% | 618.9949 | 98.6678 | 10.6674 | - | 1.0848 | 12.3309 | 10 | Lake Side 1 | Gas | 591.3 | 9.831 | 37.2063 | 4.419% | 618.9949 | 98.6678 | 10.6674 | - | 1.0848 | 4.7837
11 | Lake Side 2 | Gas | 655.2 | 30.0532 | 204.5991 | 5.346% | 925.0792 | 147.4576 | 5.9011 | - | 1.7898 | 8.1033 | 11 | Lake Side 2 | Gas | 655.2 | 36.7409 | 145.717 | 15.83% | 925.0792 | 147.4576 | 5.9011 | - | 1.7898 | 23.9897 | 11 | Lake Side 2 | Gas | 655.2 | 11.2246 | 48.4309 | 5.046% | 925.0792 | 147.4576 | 5.9011 | - | 1.7898 | 7.6474
12 | Naughton | Steam | 707.2 | 3.9168 | 208.5159 | 0.6968% | 1002.3679 | 159.7775 | 28.0072 | - | 0.47004 | 1.3052 | 12 | Naughton | Steam | 707.2 | 3.7122 | 149.4292 | 1.599% | 1002.3679 | 159.7775 | 28.0072 | - | 0.47004 | 2.9955 | 12 | Naughton | Steam | 707.2 | 1.3175 | 49.7484 | 0.5922% | 1002.3679 | 159.7775 | 28.0072 | - | 0.47004 | 1.1094
13 | Wyodak | Steam | 289.66 | 22.8251 | 231.3411 | 4.06% | 895.6012 | 142.7588 | 28.2809 | - | 0.53283 | 6.9234 | 13 | Wyodak | Steam | 289.66 | 0 | 149.4292 | - | 895.6012 | 142.7588 | 28.2809 | - | 0.53283 | 0 | 13 | Wyodak | Steam | 289.66 | 0 | 49.7484 | - | 895.6012 | 142.7588 | 28.2809 | - | 0.53283 | 0
14 | Oneida | Hydro | 30 | 4.8231 | 236.1641 | 0.858% | 289.395 | 46.1296 | 32.9693 | - | 0.79843 | 0.67182 | 14 | Oneida | Hydro | 30 | 8.5865 | 158.0157 | 3.699% | 289.395 | 46.1296 | 32.9693 | - | 0.79843 | 2.8963 | 14 | Oneida | Hydro | 30 | 2.7295 | 52.478 | 1.227% | 289.395 | 46.1296 | 32.9693 | - | 0.79843 | 0.9607
15 | Cutler | Hydro | 30 | 5.9931 | 242.1572 | 1.066% | 677.1254 | 107.9338 | 52.6545 | - | 3.0172 | 1.6799 | 15 | Cutler | Hydro | 30 | 10.6725 | 168.6882 | 4.598% | 677.1254 | 107.9338 | 52.6545 | - | 3.0172 | 7.2445 | 15 | Cutler | Hydro | 30 | 3.3239 | 55.8018 | 1.494% | 677.1254 | 107.9338 | 52.6545 | - | 3.0172 | 2.3543
16 | Monsanto | Contract | 80.073 | 0 | 242.1572 | - |  | - | 187.1607 | - | - | 0 | 16 | Monsanto | Contract | 80.073 | 0 | 168.6882 | - |  | - | 187.1607 | - | - | 0 | 16 | Monsanto | Contract | 80.073 | 80.0732 | 135.8751 | 35.99% |  | - | 187.1607 | - | - | 67.3656
17 | Nucor | Contract | 46.43 | 22.7266 | 264.8838 | 4.043% |  | - | 135.1066 | - | - | 5.4623 | 17 | Nucor | Contract | 46.43 | 0 | 168.6882 | - |  | - | 135.1066 | - | - | 0 | 17 | Nucor | Contract | 46.43 | 12.5408 | 148.4159 | 5.637% |  | - | 135.1066 | - | - | 7.6162
18 | Magcorp | Contract | 74.904 | 36.8681 | 301.7519 | 6.559% |  | - | 87.6341 | - | - | 5.7476 | 18 | Magcorp | Contract | 74.904 | 0 | 168.6882 | - |  | - | 87.6341 | - | - | 0 | 18 | Magcorp | Contract | 74.904 | 19.9289 | 168.3448 | 8.958% |  | - | 87.6341 | - | - | 7.8504
19 | Chehalis | Gas | 593.3 | 37.0927 | 338.8446 | 6.599% | 451.8834 | 72.0302 | 5.2783 | 20.9925 | 1.6861 | 6.3752 | 19 | Chehalis | Gas | 593.3 | 10.357 | 179.0451 | 4.462% | 451.8834 | 72.0302 | 5.2783 | 20.9925 | 1.6861 | 4.3106 | 19 | Chehalis | Gas | 593.3 | 8.8543 | 177.1991 | 3.98% | 451.8834 | 72.0302 | 5.2783 | 20.9925 | 1.6861 | 3.8454
20 | Hermiston | Gas | 279.56 | 26.884 | 365.7287 | 4.783% | 378.725 | 60.3688 | 27.6177 | 20.9925 | 1.2985 | 5.1498 | 20 | Hermiston | Gas | 279.56 | 4.8361 | 183.8813 | 2.083% | 378.725 | 60.3688 | 27.6177 | 20.9925 | 1.2985 | 2.2434 | 20 | Hermiston | Gas | 279.56 | 4.1498 | 181.3489 | 1.865% | 378.725 | 60.3688 | 27.6177 | 20.9925 | 1.2985 | 2.0087
21 | Mid-Columbia Hydro | Contract | 50.5443 | 6.6992 | 372.4278 | 1.192% |  | - | 109.9475 | - | - | 1.3103 | 21 | Mid-Columbia Hydro | Contract | 50.5443 | 2.3807 | 186.262 | 1.026% |  | - | 109.9475 | - | - | 1.1276 | 21 | Mid-Columbia Hydro | Contract | 50.5443 | 2.0271 | 183.376 | 0.9112% |  | - | 109.9475 | - | - | 1.0018
22 | Swift No. 1 | Hydro | 240 | 69.6847 | 442.1125 | 12.4% | 484.1291 | 77.1702 | 22.8945 | 20.9925 | 0.61942 | 14.9301 | 22 | Swift No. 1 | Hydro | 240 | 25.6559 | 211.9179 | 11.05% | 484.1291 | 77.1702 | 22.8945 | 20.9925 | 0.61942 | 13.3111 | 22 | Swift No. 1 | Hydro | 240 | 21.8955 | 205.2715 | 9.842% | 484.1291 | 77.1702 | 22.8945 | 20.9925 | 0.61942 | 11.8537
23 | Yale | Hydro | 134 | 32.2287 | 474.3413 | 5.733% | 322.8228 | 51.458 | 24.0211 | - | 0.6612 | 4.2895 | 23 | Yale | Hydro | 134 | 10.9346 | 222.8525 | 4.711% | 322.8228 | 51.458 | 24.0211 | - | 0.6612 | 3.5243 | 23 | Yale | Hydro | 134 | 9.288 | 214.5595 | 4.175% | 322.8228 | 51.458 | 24.0211 | - | 0.6612 | 3.1237
24 | Jim Bridger | Steam | 1550.65 | 87.7914 | 562.1327 | 15.62% | 445.3735 | 70.9925 | 16.7536 | 5.4592 | 0.30022 | 14.5095 | 24 | Jim Bridger | Steam | 1550.65 | 9.2801 | 232.1326 | 3.998% | 445.3735 | 70.9925 | 16.7536 | 5.4592 | 0.30022 | 3.7141 | 24 | Jim Bridger | Steam | 1550.65 | 7.9064 | 222.4659 | 3.554% | 445.3735 | 70.9925 | 16.7536 | 5.4592 | 0.30022 | 3.3018
|  |  | e: 100% | [6 empty] | 100% | [12 empty] | 100%
|  |  | i: Total Weighted Annual Cost; k: 109.1403 | [10 empty] | Total Weighted Annual Cost |  | 110.8007 | [10 empty] | Total Weighted Annual Cost |  | 136.2139
[6 empty] | Non-AEP Methodology |  |  |  | AEP Methodology
|  |  | e: Production cost; g: 109.1403; i: Production cost; k: 109.1403 | [6 empty] | Non-AEP Methodology |  |  |  | AEP Methodology | [8 empty] | Non-AEP Methodology |  |  |  |  | AEP Methodology
|  |  | e: Losses; g: 0%; i: Losses; k: 0% | [6 empty] | Production cost |  | 110.8007 |  | Production cost |  | 110.8007 | [6 empty] | Production cost |  | 136.2139 |  | Production cost |  | 136.2139
[19 empty] | Losses |  | 0% |  | Losses |  | 0% | [6 empty] | Losses |  | 0% |  | Losses |  | 0%
[6 empty] | Annual Cost | $/MW | 109140.2794 |  | Annual Cost | $/MW | 109140.2794
|  |  | e: Monthly Cost; g: 9095.0233; i: Monthly Cost; k: 9095.0233 | [6 empty] | Annual Cost | $/MW | 110800.7402 |  | Annual Cost | $/MW | 110800.7402 | [6 empty] | Annual Cost | $/MW | 136213.9042 |  | Annual Cost | $/MW | 136213.9042
|  |  | e: Weekly Cost; g: 2098.8515; i: Weekly Cost; k: 2098.8515 | [6 empty] | Monthly Cost |  | 9233.395 |  | Monthly Cost |  | 9233.395 | [6 empty] | Monthly Cost |  | 11351.1587 |  | Monthly Cost |  | 11351.1587
|  |  | e: Daily Cost; g: 299.0145; i: Daily Cost; k: 349.8086 | [6 empty] | Weekly Cost |  | 2130.7835 |  | Weekly Cost |  | 2130.7835 | [6 empty] | Weekly Cost |  | 2619.4982 |  | Weekly Cost |  | 2619.4982
|  |  | e: (W/O Weekly Cap); i: (W/Weekly Cap) | [6 empty] | Daily Cost |  | 303.5637 |  | Daily Cost |  | 355.1306 | [6 empty] | Daily Cost |  | 373.1888 |  | Daily Cost |  | 436.583
[19 empty] | (W/O Weekly Cap) |  |  |  | (W/Weekly Cap) | [8 empty] | (W/O Weekly Cap) |  |  |  | (W/Weekly Cap)
[6 empty] | Hourly Cost |  | 12.4589 |  | Hourly Cost |  | 21.863
|  |  | g: (W/O Weekly and Daily Cap); k: (W/Weekly and Daily Cap) | [6 empty] | Hourly Cost |  | 12.6485 |  | Hourly Cost |  | 22.1957 | [6 empty] | Hourly Cost |  | 15.5495 |  | Hourly Cost |  | 27.2864
[21 empty] | (W/O Weekly and Daily Cap) |  |  |  | (W/Weekly and Daily Cap) | [8 empty] | (W/O Weekly and Daily Cap) |  |  |  | (W/Weekly and Daily Cap)

## Attachment C_Sch2 (p.1)
Exhibit No. PAC-17
Attachment C
Page 1
SCHEDULE 2 CREDIT CALCULATION
|  | Schedule 2 (Reactive Supply and Voltage Control) Summary 2010 Study1 |  |  |  | Schedule 2 Credit - 2015
[6 empty] | (e) 2015 12CP (MW) - (Attach. C, page 2) |  | 13440.3275
[6 empty] | (f) Current annual rate ($/MW-year) |  | 549.996
[6 empty] | (g) Annual Revenue = (e)*(f) |  | 7392126.3637
| Plant | Reactive Rev Req (2010 Study) | % Total Rev Req (2010 Study) | 2010 Name Plate (MW) FN1, p.402-407 | Reactive Revenue Req. ($/kW) 2010 Credit | Share of 2015 revenue (based on % from 2010 study) | 2015 Name Plate (MW) FN1, p.402-407 | Reactive Revenue Req. ($/kW) 2015 Credit (used in Attach. B, pp. 3-5)
|  | a | b | c | (d)=a/c/1000 | h = (g)*(b) | i | (j)=h/i/1000
WEST
1 | Camas Co-Gen | 404670.6949 | 2.404% | 61.5001 | 6.58 | 177742.8784 | 61.5 | 2.8901
2 | Chehalis | 2277542.6973 | 13.53% | 593 | 3.8407 | 1000361.5279 | 593.3 | 1.6861
3 | Clearwater 1 | 25335.6037 | 0.1505% | 14.9999 | 1.689 | 11128.1177 | 15 | 0.74187
4 | Clearwater 2 | 53388.1396 | 0.3172% | 25.9998 | 2.0534 | 23449.5893 | 26 | 0.90191
5 | Colstrip | 83738.5176 | 0.4976% | 156 | 0.53679 | 36780.3385 | 155.61 | 0.23636
6 | Copco 1 | 66203.1562 | 0.3934% | 20 | 3.3102 | 29078.3091 | 20 | 1.4539
7 | Copco 2 | 106267.461 | 0.6314% | 27 | 3.9358 | 46675.6912 | 27 | 1.7287
8 | Fish Creek | 15551.9694 | 0.09241% | 10.9999 | 1.4138 | 6830.8673 | 11 | 0.62099
9 | Hermiston | 826469.563 | 4.911% | 280 | 2.9517 | 363008.9376 | 279.56 | 1.2985
10 | Iron Gate | 15071.9229 | 0.08955% | 17.9996 | 0.83735 | 6620.0172 | 18 | 0.36778
11 | JC Boyle | 76619.2164 | 0.4553% | 98.8 | 0.7755 | 33653.3389 | 97.98 | 0.34347
12 | Jim Bridger | 1059903.9342 | 6.298% | 1545.1339 | 0.68596 | 465539.9525 | 1550.65 | 0.30022
13 | Lemolo 1 | 56008.9592 | 0.3328% | 32.775 | 1.7089 | 24600.7278 | 31.99 | 0.76901
14 | Lemolo 2 | 63472.4788 | 0.3771% | 33.0002 | 1.9234 | 27878.9179 | 38.5 | 0.72413
15 | Merwin | 354521.6178 | 2.107% | 136 | 2.6068 | 155715.9774 | 136 | 1.145
16 | Prospect 2 | 57510.8676 | 0.3417% | 32 | 1.7972 | 25260.4087 | 32 | 0.78939
17 | Prospect 3 | 32835.3362 | 0.1951% | 7.2 | 4.5605 | 14422.2135 | 7.2 | 2.0031
18 | Slide Creek | 27171.4623 | 0.1614% | 17.9996 | 1.5096 | 11934.479 | 18 | 0.66303
19 | Soda | 33775.744 | 0.2007% | 14.022 | 2.4088 | 14835.2674 | 14.45 | 1.0267
20 | Soda Springs | 24121.3024 | 0.1433% | 10.9999 | 2.1929 | 10594.7621 | 11 | 0.96316
21 | Swift No. 1 | 338458.5333 | 2.011% | 240.0003 | 1.4102 | 148660.6138 | 240 | 0.61942
22 | Toketee | 64338.7917 | 0.3823% | 28.3339 | 2.2707 | 28259.4272 | 42.5 | 0.66493
23 | Yale | 201720.3323 | 1.199% | 133.9992 | 1.5054 | 88601.307 | 134 | 0.6612
EAST
1 | Ashton | 65941.0263 | 0.3918% | 6.8503 | 9.626 | 28963.1741 | 6.7 | 4.3229
2 | Blundell | 390988.0071 | 2.323% | 38.0953 | 10.2634 | 171733.0527 | 38.1 | 4.5074
3 | Carbon | 383670.8598 | 2.28% | 188.636 | 2.0339 | 168519.1536 | 188.64 | 0.89334
4 | Cholla | 779728.1504 | 4.633% | 414 | 1.8834 | 342478.7798 | 414 | 0.82724
5 | Currant Creek | 1733154.8811 | 10.3% | 566.9 | 3.0572 | 761250.9162 | 566.9 | 1.3428
6 | Cutler | 206077.5613 | 1.224% | 15 | 13.7385 | 90515.126 | 30 | 3.0172
7 | Dave Johnston | 995675.5105 | 5.916% | 816.7713 | 1.219 | 437329.0021 | 816.77 | 0.53544
8 | Gadsby Peakers | 885868.9938 | 5.264% | 181.5 | 4.8808 | 389098.8569 | 181.05 | 2.1491
9 | Gadsby Steam | 269994.3861 | 1.604% | 251.6352 | 1.073 | 118589.2133 | 251.64 | 0.47127
10 | Grace | 75087.5563 | 0.4462% | 32.9994 | 2.2754 | 32980.5903 | 33 | 0.99941
11 | Hunter | 1571324.8209 | 9.337% | 1247.7876 | 1.2593 | 690170.5511 | 1247.78 | 0.55312
12 | Huntington | 584530.6101 | 3.473% | 996.0012 | 0.58688 | 256742.4685 | 996 | 0.25777
13 | Lake Side 1 | 1460323.1244 | 8.677% | 591.3 | 2.4697 | 641415.4491 | 591.3 | 1.0848
14 | Naughton | 756815.6336 | 4.497% | 707.2 | 1.0702 | 332414.9507 | 707.2 | 0.47004
15 | Oneida | 54533.9219 | 0.324% | 29.9997 | 1.8178 | 23952.8495 | 30 | 0.79843
16 | Wyodak | 351385.6304 | 2.088% | 289.656 | 1.2131 | 154338.5626 | 289.66 | 0.53283
| Total Reactive Rev Req | 16829798.976 | 100% | - | - | 7392126.3637 | - | -
Note 1: For the 2010 Study results please refer to Alan C. Heintz testimony on behalf of PacifiCorp in 2011 Rate Case filed on May 26, 2011, in Docket No. ER11-3643. The Summary of 2010 Study of Schedule 2 Reactive Revenue Requirement can be located on page 18 of the Exhibit PAC-7 of the Alan C. Heintz testimony.
Note 2: The Lake Side 2 plant came online after the 2010 study. The Lake Side 2 credit assumed to be equal to 1.65 times the credit for Lake Side 1 based on similar plant characteristics and differences in gross plant values. Therefore, the credit for Lake Side 2 reactive reserve service in Schedules 3, 3A, 5, and 6 is equal 1.65 * $1.08, or $1.79 $/kW.

## Attachment C_12CP (p.2)
Exhibit No. PAC-17
Attachment C
Page 2
2015 MONTHLY TRANSMISSION SYSTEM PEAK LOAD (used in calculation of Schedule 2 credit)
Values in MW |  |  |  | Firm Network Service for Self | Firm Network Service for Others | Long-Term Point-to-point Reservations | Other Service | Grand Total | Calculated 12CP (Grand Total/12)
2015 Form No. 1
|  | Page | Row | column e | column f | column g | n/a | total
| January | 400 | 1 | 8506 | 128 | 3358 | 887.511 | 12879.511
| February | 400 | 2 | 8246 | 158 | 3358 | 727.938 | 12489.938
| March | 400 | 3 | 8124 | 136 | 3358 | 757.691 | 12375.691
| April | 400 | 5 | 7615 | 122 | 3358 | 702.843 | 11797.843
| May | 400 | 6 | 7767 | 101 | 3358 | 852.49 | 12078.49
| June | 400 | 7 | 10906 | 159 | 3531 | 1449.878 | 16045.878
| July | 400 | 9 | 10809 | 144 | 3531 | 1372.908 | 15856.908
| August | 400 | 10 | 9946 | 146 | 3531 | 1323.287 | 14946.287
| September | 400 | 11 | 9093 | 131 | 3505 | 1250.035 | 13979.035
| October | 400 | 13 | 8109 | 103 | 3489 | 1064.862 | 12765.862
| November | 400 | 14 | 8795 | 142 | 3358 | 821.661 | 13116.661
| December | 400 | 15 | 8530 | 140 | 3363 | 918.826 | 12951.826
Total FERC Form No. 1 |  | 400 | 17 | 106446 | 1610 | 41098 | 12129.93 | 161283.93 | 13440.3275

## Attachment D_Reserve Study
[13 empty] | Exhibit No. PAC-17 | [27 empty] | Exhibit No. PAC-17
[13 empty] | Attachment D | [27 empty] | Attachment D
[13 empty] | page 1 | [27 empty] | page 2
Note 1: Tables D, E, and F represent the historical reserve availability from the 2015 Reserve Analysis adjusted for the following changes:
- removed the regulation reserve at Carbon plant that retired April 2015,
- removed spinning, supplemental, and regulation reserve associated with Hermiston Power Purchase Agreement that expired in June 2016,
- removed reserves attributable to CoolKeeper from regulation and supplemental pool of reserves, and
- removed the supplemental reserve by Seattle City Light (SCL) Stateline contract that self-supplies operating reserves and thus has no embedded cost basis.
Note 2: Table F (Schedule 3 and 3A, Regulation Reserves) represents resources holding regulation reserves in 2015 adjusted for the changes described in Note 1. The calculated percentage contributions to total reserve are applied to the regulation requirement calculated in the 2016 Regulation Reserve Study.
Note 3: Table G summarizes the reserve values from Tables D, E, and F by plant.
Note 4: Table H summarizes the contribution of units toward the final 562 MW regulation reserve requirement in the 2016 Reserve Study that accounts for diversity benefit reductions from the 900 MW sum of stand-alone requirements for load, VERs, and non-VERs.
| Table H | [5 empty] | Table G | [7 empty] | Table D | [7 empty] | Table E | [9 empty] | Table F
| Schedule 3 and 3A, Regulating Reserves 2016 Regulation Reserve Study results | [5 empty] | 2015 Results - Summary | [7 empty] | 2015 Results | [7 empty] | 2015 Results | [9 empty] | 2015 Results
[15 empty] | Schedule 5, Spinning Reserves | [7 empty] | Schedule 6, Supplemental Reserves | [9 empty] | Schedule 3 and 3A, Regulating Reserves
|  |  | Schedule 3/3A Regulation | [5 empty] | Schedule 3/3A Regulation |  | Schedule 5 Spinning |  | Schedule 6 Non-Spinning |  |  |  | Total 10-Minute Contingency Reserves |  | Spin Held for Contingency Spin Requirement |  | Total 10-Minute Reserves Held for Spinning Reserve Requirements |  |  |  | Total 10-Minute Contingency Reserves |  | Supplemental Reserves Held for Supplemental Reserve Requirement |  | Spin Held for Supplemental Reserve Requirement |  | Total 10-Minute & Supplemental Reserves Held for Supplemental Reserve Requirement |  |  |  | Total 10-Minute & 30-Minute Reserve |  | Excess Spin and Supplemental Available for Regulation Reserve |  | 30-Minute Reserves Available for Regulation Reserve |  | Total Capability Available for Regulation Reserve
|  |  | (aMW) (adj) | % of Total |  |  |  |  | (aMW) | % of Total | (aMW) | % of Total | (aMW) | % of Total | Plant | Type | (aMW) | % of Total | (aMW) | % of Total | (aMW) | % of Total | Plant | Type | (aMW) | % of Total | (aMW) | % of Total | (aMW) | % of Total | (aMW) | % of Total | Plant | Type | (aMW) | % of Total | (aMW) | % of Total | (aMW) | % of Total | (aMW) | % of Total
| Carbon | Steam | 0 | 0% |  | 1 | Carbon | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Carbon 1 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Carbon 1 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Carbon 1 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
[15 empty] | Carbon 2 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Carbon 2 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Carbon 2 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
1 | Cholla | Steam | 3.9784 | 0.7077% |  | 2 | Cholla | Steam | 5.9323 | 0.7077% | 2.5849 | 1.114% | 1.0146 | 0.4561% | Cholla 4 | Steam | 6.0478 | 0.6183% | 2.5849 | 1.114% | 2.5849 | 1.114% | Cholla 4 | Steam | 6.0478 | 0.6183% | 0 | 0% | 1.0146 | 0.923% | 1.0146 | 0.4561% | Cholla 4 | Steam | 9.5318 | 0.7373% | 2.4483 | 0.4676% | 3.484 | 1.107% | 5.9323 | 0.7077%
2 | Currant Creek | Gas | 28.6262 | 5.092% |  | 3 | Currant Creek | Gas | 42.6852 | 5.092% | 33.8154 | 14.57% | 10.3949 | 4.673% | Currant Creek | Gas | 75.3076 | 7.699% | 33.8154 | 14.57% | 33.8154 | 14.57% | Currant Creek | Gas | 75.3076 | 7.699% | 0 | 0% | 10.3949 | 9.457% | 10.3949 | 4.673% | Currant Creek | Gas | 86.8955 | 6.721% | 31.0974 | 5.94% | 11.5879 | 3.682% | 42.6852 | 5.092%
3 | Dave Johnston | Steam | 20.4682 | 3.641% |  | 4 | Dave Johnston | Steam | 30.5207 | 3.641% | 0 | 0% | 0 | 0% | Dave Johnston 1 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 1 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 1 | Steam | 3.7762 | 0.2921% | 0 | 0% | 3.7762 | 1.2% | 3.7762 | 0.4505%
[15 empty] | Dave Johnston 2 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 2 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 2 | Steam | 4.5127 | 0.3491% | 0 | 0% | 4.5127 | 1.434% | 4.5127 | 0.5384%
[15 empty] | Dave Johnston 3 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 3 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 3 | Steam | 8.2625 | 0.6391% | 0 | 0% | 8.2625 | 2.626% | 8.2625 | 0.9857%
[15 empty] | Dave Johnston 4 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 4 | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Dave Johnston 4 | Steam | 13.9693 | 1.081% | 0 | 0% | 13.9693 | 4.439% | 13.9693 | 1.667%
4 | Gadsby Steam | Steam | 19.4619 | 3.462% |  | 5 | Gadsby Steam | Steam | 29.0202 | 3.462% | 8.1056 | 3.492% | 3.2145 | 1.445% | Gadsby 1 | Steam | 1.9224 | 0.1965% | 0.94021 | 0.405% | 0.94021 | 0.405% | Gadsby 1 | Steam | 1.9224 | 0.1965% | 0 | 0% | 0.39223 | 0.3568% | 0.39223 | 0.1763% | Gadsby 1 | Steam | 2.9828 | 0.2307% | 0.58992 | 0.1127% | 1.0605 | 0.337% | 1.6504 | 0.1969%
[15 empty] | Gadsby 2 | Steam | 4.0858 | 0.4177% | 2.0273 | 0.8733% | 2.0273 | 0.8733% | Gadsby 2 | Steam | 4.0858 | 0.4177% | 0 | 0% | 0.78128 | 0.7107% | 0.78128 | 0.3512% | Gadsby 2 | Steam | 6.4186 | 0.4965% | 1.2772 | 0.244% | 2.3328 | 0.7413% | 3.61 | 0.4307%
[15 empty] | Gadsby 3 | Steam | 11.0856 | 1.133% | 5.138 | 2.213% | 5.138 | 2.213% | Gadsby 3 | Steam | 11.0856 | 1.133% | 0 | 0% | 2.041 | 1.857% | 2.041 | 0.9174% | Gadsby 3 | Steam | 30.9388 | 2.393% | 3.9066 | 0.7462% | 19.8532 | 6.309% | 23.7598 | 2.835%
5 | Gadsby Peakers | Gas | 5.2638 | 0.9364% |  | 6 | Gadsby Peakers | Gas | 7.849 | 0.9364% | 5.2962 | 2.282% | 1.7776 | 0.799% | Gadsby 4 | Gas | 4.2558 | 0.4351% | 1.8871 | 0.8129% | 1.8871 | 0.8129% | Gadsby 4 | Gas | 4.2558 | 0.4351% | 0 | 0% | 0.63956 | 0.5818% | 0.63956 | 0.2875% | Gadsby 4 | Gas | 5.2775 | 0.4082% | 1.7291 | 0.3303% | 1.0218 | 0.3247% | 2.7509 | 0.3282%
[15 empty] | Gadsby 5 | Gas | 4.5261 | 0.4627% | 2.0777 | 0.8951% | 2.0777 | 0.8951% | Gadsby 5 | Gas | 4.5261 | 0.4627% | 0 | 0% | 0.63686 | 0.5794% | 0.63686 | 0.2863% | Gadsby 5 | Gas | 5.8273 | 0.4508% | 1.8115 | 0.346% | 1.3012 | 0.4135% | 3.1128 | 0.3714%
[15 empty] | Gadsby 6 | Gas | 3.0658 | 0.3134% | 1.3314 | 0.5735% | 1.3314 | 0.5735% | Gadsby 6 | Gas | 3.0658 | 0.3134% | 0 | 0% | 0.50119 | 0.4559% | 0.50119 | 0.2253% | Gadsby 6 | Gas | 3.8179 | 0.2953% | 1.2333 | 0.2356% | 0.75211 | 0.239% | 1.9854 | 0.2369%
6 | Hunter Unit No. 1 | Steam | 19.6131 | 3.489% |  | 7 | Hunter Unit No. 1 | Steam | 29.2456 | 3.489% | 8.0176 | 3.454% | 2.5417 | 1.143% | Hunter 1 | Steam | 17.6345 | 1.803% | 8.0176 | 3.454% | 8.0176 | 3.454% | Hunter 1 | Steam | 17.6345 | 1.803% | 0 | 0% | 2.5417 | 2.312% | 2.5417 | 1.143% | Hunter 1 | Steam | 39.8049 | 3.079% | 7.0751 | 1.351% | 22.1704 | 7.045% | 29.2456 | 3.489%
7 | Hunter Unit No. 2 | Steam | 18.0292 | 3.207% |  | 8 | Hunter Unit No. 2 | Steam | 26.8839 | 3.207% | 7.8767 | 3.393% | 2.6575 | 1.195% | Hunter 2 | Steam | 17.4764 | 1.787% | 7.8767 | 3.393% | 7.8767 | 3.393% | Hunter 2 | Steam | 17.4764 | 1.787% | 0 | 0% | 2.6575 | 2.418% | 2.6575 | 1.195% | Hunter 2 | Steam | 37.418 | 2.894% | 6.9423 | 1.326% | 19.9416 | 6.337% | 26.8839 | 3.207%
8 | Hunter Unit No. 3 | Steam | 16.8014 | 2.989% |  | 9 | Hunter Unit No. 3 | Steam | 25.0531 | 2.989% | 5.7453 | 2.475% | 1.8604 | 0.8363% | Hunter 3 | Steam | 12.9161 | 1.32% | 5.7453 | 2.475% | 5.7453 | 2.475% | Hunter 3 | Steam | 12.9161 | 1.32% | 0 | 0% | 1.8604 | 1.692% | 1.8604 | 0.8363% | Hunter 3 | Steam | 32.6588 | 2.526% | 5.3104 | 1.014% | 19.7427 | 6.274% | 25.0531 | 2.989%
9 | Huntington | Steam | 19.9914 | 3.556% |  | 10 | Huntington | Steam | 29.8097 | 3.556% | 11.0919 | 4.778% | 3.9141 | 1.759% | Huntington 1 | Steam | 12.842 | 1.313% | 5.4684 | 2.356% | 5.4684 | 2.356% | Huntington 1 | Steam | 12.842 | 1.313% | 0 | 0% | 1.9077 | 1.736% | 1.9077 | 0.8575% | Huntington 1 | Steam | 24.4187 | 1.889% | 5.4659 | 1.044% | 11.5767 | 3.679% | 17.0426 | 2.033%
[15 empty] | Huntington 2 | Steam | 13.064 | 1.336% | 5.6236 | 2.423% | 5.6236 | 2.423% | Huntington 2 | Steam | 13.064 | 1.336% | 0 | 0% | 2.0063 | 1.825% | 2.0063 | 0.9019% | Huntington 2 | Steam | 20.3971 | 1.578% | 5.434 | 1.038% | 7.3331 | 2.33% | 12.7672 | 1.523%
10 | Lake Side 1 | Gas | 22.3122 | 3.969% |  | 11 | Lake Side 1 | Gas | 33.2703 | 3.969% | 26.4425 | 11.39% | 9.831 | 4.419% | Lake Side 1 | Gas | 62.5543 | 6.395% | 26.4425 | 11.39% | 26.4425 | 11.39% | Lake Side 1 | Gas | 62.5543 | 6.395% | 0 | 0% | 9.831 | 8.944% | 9.831 | 4.419% | Lake Side 1 | Gas | 69.5439 | 5.379% | 26.2807 | 5.02% | 6.9896 | 2.221% | 33.2703 | 3.969%
11 | Lake Side 2 | Gas | 30.0532 | 5.346% |  | 12 | Lake Side 2 | Gas | 44.8131 | 5.346% | 36.7409 | 15.83% | 11.2246 | 5.046% | Lake Side 2 | Gas | 82.0492 | 8.388% | 36.7409 | 15.83% | 36.7409 | 15.83% | Lake Side 2 | Gas | 82.0492 | 8.388% | 0 | 0% | 11.2246 | 10.21% | 11.2246 | 5.046% | Lake Side 2 | Gas | 92.7786 | 7.177% | 34.0837 | 6.51% | 10.7293 | 3.41% | 44.8131 | 5.346%
12 | Naughton | Steam | 3.9168 | 0.6968% |  | 13 | Naughton | Steam | 5.8405 | 0.6968% | 3.7122 | 1.599% | 1.3175 | 0.5922% | Naughton 1 | Steam | 1.0563 | 0.108% | 0.47406 | 0.2042% | 0.47406 | 0.2042% | Naughton 1 | Steam | 1.0563 | 0.108% | 0 | 0% | 0.16454 | 0.1497% | 0.16454 | 0.07396% | Naughton 1 | Steam | 1.3809 | 0.1068% | 0.41769 | 0.07978% | 0.32464 | 0.1032% | 0.74233 | 0.08856%
[15 empty] | Naughton 2 | Steam | 3.6784 | 0.3761% | 1.5469 | 0.6664% | 1.5469 | 0.6664% | Naughton 2 | Steam | 3.6784 | 0.3761% | 0 | 0% | 0.54678 | 0.4974% | 0.54678 | 0.2458% | Naughton 2 | Steam | 4.4256 | 0.3423% | 1.5847 | 0.3027% | 0.74718 | 0.2374% | 2.3319 | 0.2782%
[15 empty] | Naughton 3 | Steam | 3.9609 | 0.4049% | 1.6912 | 0.7286% | 1.6912 | 0.7286% | Naughton 3 | Steam | 3.9609 | 0.4049% | 0 | 0% | 0.60621 | 0.5515% | 0.60621 | 0.2725% | Naughton 3 | Steam | 5.0637 | 0.3917% | 1.6634 | 0.3177% | 1.1029 | 0.3505% | 2.7663 | 0.33%
13 | Wyodak | Steam | 22.8251 | 4.06% |  | 14 | Wyodak | Steam | 34.0352 | 4.06% | 0 | 0% | 0 | 0% | Wyodak | Steam | 0 | 0% | 0 | 0% | 0 | 0% | Wyodak | Steam | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Wyodak | Steam | 34.0352 | 2.633% | 0 | 0% | 34.0352 | 10.82% | 34.0352 | 4.06%
14 | Oneida | Hydro | 4.8231 | 0.858% |  | 15 | Oneida | Hydro | 7.1918 | 0.858% | 8.5865 | 3.699% | 2.7295 | 1.227% | Oneida 1 | Hydro | 6.1304 | 0.6267% | 2.8883 | 1.244% | 2.8883 | 1.244% | Oneida 1 | Hydro | 6.1304 | 0.6267% | 0 | 0% | 0.92666 | 0.843% | 0.92666 | 0.4165% | Oneida 1 | Hydro | 6.1304 | 0.4742% | 2.3154 | 0.4423% | 1.9984e-14 | 6.351e-15% | 2.3154 | 0.2762%
[15 empty] | Oneida 2 | Hydro | 5.0799 | 0.5193% | 2.3265 | 1.002% | 2.3265 | 1.002% | Oneida 2 | Hydro | 5.0799 | 0.5193% | 0 | 0% | 0.76318 | 0.6943% | 0.76318 | 0.3431% | Oneida 2 | Hydro | 5.0799 | 0.3929% | 1.9902 | 0.3802% | -1.5321e-14 | -4.869e-15% | 1.9902 | 0.2374%
[15 empty] | Oneida 3 | Hydro | 7.2976 | 0.7461% | 3.3717 | 1.452% | 3.3717 | 1.452% | Oneida 3 | Hydro | 7.2976 | 0.7461% | 0 | 0% | 1.0397 | 0.9458% | 1.0397 | 0.4673% | Oneida 3 | Hydro | 7.2976 | 0.5645% | 2.8862 | 0.5513% | 1.2434e-14 | 3.952e-15% | 2.8862 | 0.3443%
15 | Cutler | Hydro | 5.9931 | 1.066% |  | 16 | Cutler | Hydro | 8.9364 | 1.066% | 10.6725 | 4.598% | 3.3239 | 1.494% | Cutler 1 | Hydro | 9.7508 | 0.9969% | 4.5676 | 1.968% | 4.5676 | 1.968% | Cutler 1 | Hydro | 9.7508 | 0.9969% | 0 | 0% | 1.4232 | 1.295% | 1.4232 | 0.6397% | Cutler 1 | Hydro | 9.7508 | 0.7542% | 3.7601 | 0.7182% | -3.2419e-14 | -1.03e-14% | 3.7601 | 0.4486%
[15 empty] | Cutler 2 | Hydro | 13.182 | 1.348% | 6.1049 | 2.63% | 6.1049 | 2.63% | Cutler 2 | Hydro | 13.182 | 1.348% | 0 | 0% | 1.9007 | 1.729% | 1.9007 | 0.8544% | Cutler 2 | Hydro | 13.182 | 1.02% | 5.1764 | 0.9887% | 3.4639e-14 | 1.101e-14% | 5.1764 | 0.6176%
16 | Monsanto | Contract | 0 | 0% |  | 17 | Monsanto | Contract | 0 | 0% | 0 | 0% | 80.0732 | 35.99% | Monsanto | Contract | 80.0784 | 8.187% | 0 | 0% | 0 | 0% | Monsanto | Contract | 80.0784 | 8.187% | 80.0732 | 71.15% | 0 | 0% | 80.0732 | 35.99% | Monsanto | Contract | 80.0732 | 6.194% | 0 | 0% | 0 | 0% | 0 | 0%
| Coolkeeper | Contract | 0 | 0% |  | 18 | Coolkeeper | Contract | 0 | 0% | 0 | 0% | 0 | 0% | Coolkeeper | Contract | 0 | 0% | 0 | 0% | 0 | 0% | Coolkeeper | Contract | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Coolkeeper | Contract | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
17 | Nucor | Contract | 22.7266 | 4.043% |  | 19 | Nucor | Contract | 33.8882 | 4.043% | 0 | 0% | 12.5408 | 5.637% | Nucor | Contract | 46.429 | 4.747% | 0 | 0% | 0 | 0% | Nucor | Contract | 46.429 | 4.747% | 12.5408 | 11.14% | 0 | 0% | 12.5408 | 5.637% | Nucor | Contract | 46.429 | 3.591% | 33.8882 | 6.473% | 0 | 0% | 33.8882 | 4.043%
18 | Magcorp | Contract | 36.8681 | 6.559% |  | 20 | Magcorp | Contract | 54.975 | 6.559% | 0 | 0% | 19.9289 | 8.958% | Magcorp | Contract | 74.9039 | 7.658% | 0 | 0% | 0 | 0% | Magcorp | Contract | 74.9039 | 7.658% | 19.9289 | 17.71% | 0 | 0% | 19.9289 | 8.958% | Magcorp | Contract | 74.9039 | 5.794% | 54.975 | 10.5% | 0 | 0% | 54.975 | 6.559%
19 | Chehalis | Gas | 37.0927 | 6.599% |  | 21 | Chehalis | Gas | 55.3099 | 6.599% | 10.357 | 4.462% | 8.8543 | 3.98% | Chehalis | Gas | 74.5212 | 7.619% | 10.357 | 4.462% | 10.357 | 4.462% | Chehalis | Gas | 74.5212 | 7.619% | 0 | 0% | 8.8543 | 8.055% | 8.8543 | 3.98% | Chehalis | Gas | 74.5212 | 5.764% | 55.3099 | 10.56% | 9.9476e-14 | 3.161e-14% | 55.3099 | 6.599%
20 | Hermiston | Gas | 26.884 | 4.783% |  | 22 | Hermiston | Gas | 40.0875 | 4.783% | 4.8361 | 2.083% | 4.1498 | 1.865% | Hermiston Owned | Gas | 29.0297 | 2.968% | 4.8361 | 2.083% | 4.8361 | 2.083% | Hermiston Owned | Gas | 29.0297 | 2.968% | 0 | 0% | 4.1498 | 3.775% | 4.1498 | 1.865% | Hermiston Owned | Gas | 49.0734 | 3.796% | 20.0437 | 3.829% | 20.0437 | 6.37% | 40.0875 | 4.783%
| Hermiston PPA | Gas | 0 | 0% |  | 23 | Hermiston PPA | Gas | 0 | 0% | 0 | 0% | 0 | 0% | Hermiston PPA | Gas | 0 | 0% | 0 | 0% | 0 | 0% | Hermiston PPA | Gas | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | Hermiston PPA | Gas | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
21 | Mid-Columbia Hydro | Contract | 6.6992 | 1.192% |  | 24 | Mid-Columbia Hydro | Contract | 9.9893 | 1.192% | 2.3807 | 1.026% | 2.0271 | 0.9112% | Mid-Columbia Hydro | Hydro | 14.3971 | 1.472% | 2.3807 | 1.026% | 2.3807 | 1.026% | Mid-Columbia Hydro | Hydro | 14.3971 | 1.472% | 0 | 0% | 2.0271 | 1.844% | 2.0271 | 0.9112% | Mid-Columbia Hydro | Hydro | 14.3971 | 1.114% | 9.9893 | 1.908% | 0 | 0% | 9.9893 | 1.192%
22 | Swift No. 1 | Hydro | 69.6847 | 12.4% |  | 25 | Swift No. 1 | Hydro | 103.9087 | 12.4% | 25.6559 | 11.05% | 21.8955 | 9.842% | Swift | Hydro | 151.4601 | 15.48% | 25.6559 | 11.05% | 25.6559 | 11.05% | Swift | Hydro | 151.4601 | 15.48% | 0 | 0% | 21.8955 | 19.92% | 21.8955 | 9.842% | Swift | Hydro | 151.4601 | 11.72% | 103.9087 | 19.85% | 0 | 0% | 103.9087 | 12.4%
23 | Yale | Hydro | 32.2287 | 5.733% |  | 26 | Yale | Hydro | 48.0571 | 5.733% | 10.9346 | 4.711% | 9.288 | 4.175% | Yale | Hydro | 68.2797 | 6.981% | 10.9346 | 4.711% | 10.9346 | 4.711% | Yale | Hydro | 68.2797 | 6.981% | 0 | 0% | 9.288 | 8.45% | 9.288 | 4.175% | Yale | Hydro | 68.2797 | 5.281% | 48.0571 | 9.179% | 0 | 0% | 48.0571 | 5.733%
24 | Jim Bridger | Steam | 87.7914 | 15.62% |  | 27 | Jim Bridger | Steam | 130.9081 | 15.62% | 9.2801 | 3.998% | 7.9064 | 3.554% | Jim Bridger | Steam | 60.0694 | 6.141% | 9.2801 | 3.998% | 9.2801 | 3.998% | Jim Bridger | Steam | 60.0694 | 6.141% | 0 | 0% | 7.9064 | 7.193% | 7.9064 | 3.554% | Jim Bridger | Steam | 148.0946 | 11.46% | 42.8829 | 8.191% | 88.0252 | 27.97% | 130.9081 | 15.62%
| SCL Stateline | Contract | 0 | 0% |  | 28 | SCL Stateline | Contract | 0 | 0% | 0 | 0% | 0 | 0% | SCL Stateline | Contract | 0 | 0% | 0 | 0% | 0 | 0% | SCL Stateline | Contract | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | SCL Stateline | Contract | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
|  |  | 562.1327 | 100% |  |  |  |  | 838.2107 | 100% | 232.1326 | 100% | 222.4659 | 100% | Totals |  | 978.1381 | 100% | 232.1326 | 100% | 232.1326 | 100% |  | Totals | 978.1381 | 100% | 112.5429 | 100% | 109.923 | 100% | 222.4659 | 100% |  | Totals | 1292.8092 | 100% | 523.5344 | 100% | 314.6763 | 100% | 838.2107 | 100%
2016 Regulation Reserve Study Results
|  | Stand-alone Regulation Forecast | Stand-alone Rate | Portfolio Regulation Forecast with EIM benefit | Portfolio Rate with EIM | 2015 Capacity | Rate Determinant
| Scenario | (aMW) | (%) | (aMW) | (%) | (MW)
| Non-VER | 82.5781 | 3.734% | 51.6007 | 2.333% | 2227.65 | Nameplate
| Load | 433.0281 | 4.467% | 270.5867 | 2.791% | 9695.8803 | 12 CP
| VER - Wind | 383.9917 | 14.76% | 239.9453 | 9.22% | 2587.65 | Nameplate
| Total | 899.5979 |  | 562.1327
| Diversity Savings (%) |  |  | 37.51%
Committed Intra-hour Scheduling
| VER - 15-Minute Wind | 331.0612 | 12.79% |  | 7.995% | 2587.65 | Nameplate

## Attachment E_Wheeling Costs
Exhibit No. PAC-17
Attachment E
Wheeling Costs included in Attachment B, pages 3-5, column (i)
Unit | Third party Transmission Cost ($/kW-year) | Source
Cholla | 35.9217 | APS: PTP
Chehalis | 20.9925 | BPA: PTP + Scheduling
Hermiston | 20.9925 | BPA: PTP + Scheduling
Jim Bridger | 5.4592 | IPC: RTSA/PTP
Swift No. 1 | 20.9925 | BPA: PTP + Scheduling
| $/kW-year | Period
Cholla
| 35.63 | (Jan '15 - May '15)
| 36.13 | (July '15 - Dec '15)
Chehalis, Hermiston, Swift
| 20.83 | (Jan '15 - Sept '15)
| 21.48 | (Oct '15 - Dec '15)
Jim Bridger
| 5.5135 | (Jan '15 - Oct '15) IPC: RTSA
| 5.1881 | (Nov '15 - Dec '15) PAC (NT)/IPC (PTP): Dynamic rights only, excludes 200 MW for dynamic overlay

## 2015 Monthly Peaks (Sch3)
Exhibit No. PAC-17
PacifiCorp
2015 Actual Load - Monthly Peaks
(Attachment 9b from the 2016 Annual Update of PacifiCorp's transmission Formula)
OATT (Part III - Network Service)
Column |  |  | e | f1 | f2 | f3 | f4 | f5 | f6 | f7 | f8 | f9 | f10 | f11 | f12 | f13 | f
Customer |  |  | PacifiCorp | BPA Yakama | BPA Gazley | BPA Clarke PUD | BPA: Benton REA | BPA Oregon Wind | Tri-State | Noble Americas/ (Sempra) | Basin Electric | Black Hills | USBR | WAPA | Iberdrola | Exelon
Class |  |  | NFS | NFO | NFO | NFO | NFO | NFO | NFO | NFO | NFO | NFO | NFO | NFO | NFO | NFO | Total NFO
RS / SA |  |  |  | SA 328 | SA 229 | SA 735 | SA 539 | SA 538 | SA 628 | SA 299 | SA 505 | SA 347 | SA 506 | SA 175 | SA 742 | SA 789
Jan | 2 | 18 | 8308.672 | 4.545 | 3.358 | 25.208 | 1.404 | 0.346 | 25.824 | 16.471 | 0.293 | 43.89 | 0.005 | 0.002 | 5.141 | 3.071 | 129.558
Feb | 23 | 8 | 8038.318 | 5.807 | 3.173 | 26.384 | 1.167 | 0.346 | 45.856 | 15.177 | 0.382 | 47.78 | 0.005 | 0.001 | 11.627 | 2.864 | 160.569
March | 4 | 8 | 7837 | 6.116 | 3.013 | 27.314 | 1.19 | 0.346 | 27.593 | 14.991 | 1.031 | 47.76 | 0.005 | 0 | 6.383 | 2.76 | 138.502
April | 15 | 8 | 7417.098 | 5.069 | 3.191 | 24.543 | 0.734 | 0 | 24.305 | 16.851 | 0.257 | 36.27 | 0.171 | 1.668 | 7.763 | 0.54 | 121.362
May | 31 | 18 | 7490.848 | 4.058 | 3.2 | 12.801 | 0.277 | 0.424 | 16.386 | 18.623 | 0.247 | 33.73 | 0.342 | 0.715 | 7.694 | 2.164 | 100.661
Jun | 29 | 16 | 10618.345 | 5.398 | 3.424 | 13.75 | 0.367 | 0.286 | 39.665 | 21.958 | 0.232 | 57.49 | 0.178 | 3.474 | 8.591 | 4.002 | 158.815
Jul | 2 | 16 | 10480.882 | 5.071 | 3.728 | 15.643 | 0.38 | 0.026 | 32.115 | 22.428 | 0.208 | 48.63 | 0.613 | 3.281 | 8.557 | 3.03 | 143.71
Aug | 13 | 16 | 9603.436 | 6.663 | 3.111 | 12.595 | 0.343 | 0.251 | 29.085 | 20.791 | 0.239 | 57.19 | 0.621 | 3.024 | 9.212 | 2.907 | 146.032
Sept | 1 | 16 | 8712.016 | 6.425 | 2.847 | 10.065 | 0.319 | 0 | 24.678 | 20.33 | 0.204 | 50.72 | 0.508 | 2.719 | 9.385 | 2.65 | 130.85
Oct | 1 | 17 | 7823.762 | 4.895 | 2.787 | 10.167 | 0.277 | 0.424 | 16.858 | 19.352 | 0.668 | 32.1 | 0.265 | 1.983 | 10.426 | 2.496 | 102.698
Nov | 30 | 18 | 8549.642 | 5.49 | 2.983 | 26.513 | 1.049 | 0.355 | 26.914 | 17.739 | 0.282 | 46.65 | 0.005 | 0.004 | 11.604 | 2.299 | 141.887
Dec | 28 | 18 | 8289.698 | 5.426 | 3.274 | 25.344 | 1.486 | 0.338 | 29.545 | 15.5 | 0.257 | 44.74 | 0.004 | 0.005 | 11.779 | 2.401 | 140.099
Total |  |  | 103169.717 | 64.963 | 38.089 | 230.327 | 8.993 | 3.142 | 338.824 | 220.211 | 4.3 | 546.95 | 2.722 | 16.876 | 108.162 | 31.184 | 1614.743
Ave 12CP |  |  | 8597.4764 | 5.4136 | 3.1741 | 19.1939 | 0.74942 | 0.26183 | 28.2353 | 18.3509 | 0.35833 | 45.5792 | 0.22683 | 1.4063 | 9.0135 | 2.5987 | 134.5619
[12 empty] | (not included (telemetered)) |  | (not included (telemetered))
Other Service
|  |  |  | f8: Column; f9: j1; f10: j2; f11: j3; f12: j4; f13: j5 | j
[11 empty] | Customer | UAMPS | UMPA | Deseret | Western Area Power Administration | APS
|  |  |  | f8: Class; f9: OS; f10: OS; f11: OS; f12: OS; f13: OS | Total OS
[11 empty] | RS / SA | RS 297 | RS 637 | RS 280 | RS 262/263 | RS 436
|  |  |  | f8: Jan; f9: 377.426; f10: 92.851; f11: 79.234; f12: 338; f13: 0 | 887.511
|  |  |  | f8: Feb; f9: 325.557; f10: 73.663; f11: 76.718; f12: 252; f13: 0 | 727.938
|  |  |  | f8: March; f9: 358.385; f10: 64.653; f11: 67.653; f12: 267; f13: 0 | 757.691
|  |  |  | f8: April; f9: 365.408; f10: 39.248; f11: 89.187; f12: 209; f13: 0 | 702.843
|  |  |  | f8: May; f9: 394.192; f10: 77.588; f11: 98.71; f12: 282; f13: 0 | 852.49
|  |  |  | f8: Jun; f9: 786.768; f10: 171.808; f11: 170.302; f12: 321; f13: 0 | 1449.878
|  |  |  | f8: Jul; f9: 768.218; f10: 176.172; f11: 145.518; f12: 283; f13: 0 | 1372.908
|  |  |  | f8: Aug; f9: 696.633; f10: 143.782; f11: 138.872; f12: 344; f13: 0 | 1323.287
|  |  |  | f8: Sept; f9: 677.427; f10: 127.816; f11: 133.792; f12: 311; f13: 0 | 1250.035
|  |  |  | f8: Oct; f9: 536.905; f10: 118.527; f11: 101.43; f12: 308; f13: 0 | 1064.862
|  |  |  | f8: Nov; f9: 417.387; f10: 78.304; f11: 71.97; f12: 254; f13: 0 | 821.661
|  |  |  | f8: Dec; f9: 442.034; f10: 81.307; f11: 101.485; f12: 294; f13: 0 | 918.826
|  |  |  | f8: Total; f9: 6146.34; f10: 1245.719; f11: 1274.871; f12: 3463; f13: 0 | 12129.93
|  |  |  | f8: Ave 12CP; f9: 512.195; f10: 103.8099; f11: 106.2392; f12: 288.5833; f13: 0 | 1010.8275
|  |  |  | f9: Total load excluding telemetered exports (Sch 3 divisor) | 9695.8803

## Nameplate capacity (Sch3A)
Exhibit No. PAC-17
Details for Nameplate Capacity (Schedule 3A Billing Determinants)
Appendix Table 1 – VERs |  |  |  | Appendix Table 2 – Non-VERs
Resource ID | Nameplate Capacity (MW) | BAA | Grouping | Transaction Point | Nameplate Capacity (MW) | BAA | Class
DUNLAP_6_UNIT | 111 | PACE | VER | BONANZA_7_UNIT | 458 | PACE | Non-VER
FOOTECRE_7_UNITS | 133.6 | PACE | VER | DALTONU_7_UNIT | 4.6 | PACE | Non-VER
FREEZOUT_6_UNIT | 118.5 | PACE | VER | EXXON_7_UNITS | 107.4 | PACE | Non-VER
GLENROCW_6_UNIT | 138 | PACE | VER | GEMSTATE_1_UNIT | 23.4 | PACE | Non-VER
HINSHAW_7_UNITS | 144 | PACE | VER | MILLCRK_7_UNIT 1 | 40 | PACE | Non-VER
HIPLAINS_7_UNITS | 127.5 | PACE | VER | MILLCRK_7_UNIT 2 | 40 | PACE | Non-VER
HORSEBU_7_UNIT | 57.6 | PACE | VER | NEBOPS_7_UNITS | 140 | PACE | Non-VER
JOLLYHIL_1_GOSHEN | 124.5 | PACE | VER | PALISADI_7_UNIT 1 | 44 | PACE | Non-VER
LATIGO_6_UNIT | 99 | PACE | VER | PALISADI_7_UNIT 2 | 44 | PACE | Non-VER
MEADOWCR_6_UNIT | 119.7 | PACE | VER | PALISADI_7_UNIT 3 | 44 | PACE | Non-VER
MOONSHIN_7_UNITS | 45 | PACE | VER | PALISADI_7_UNIT 4 | 44 | PACE | Non-VER
MTWNDCOL_7_UNITS | 140.7 | PACE | VER | SLENERGY_7_UNIT | 3.2 | PACE | Non-VER
RAWHIDE_6_UNIT | 16.5 | PACE | VER | SUNNYSIU_6_UNIT | 53 | PACE | Non-VER
ROLLHILL_6_UNIT | 99 | PACE | VER | TESORO_7_UNITS | 25 | PACE | Non-VER
SPNFKWND_7_UNIT | 18.9 | PACE | VER | USBRGATE_7_UNIT | 4.5 | PACE | Non-VER
TOPWORLD_7_UNITS | 200.2 | PACE | VER | WESTVALL_7_UNIT 1 | 40 | PACE | Non-VER
WOLVERIN_7_UNITS | 64.5 | PACE | VER | WESTVALL_7_UNIT 2 | 40 | PACE | Non-VER
CAMPCOL_6_UNIT | 98.9 | PACW | VER | WESTVALL_7_UNIT 3 | 40 | PACE | Non-VER
COMBINEH_6_UNIT | 41 | PACW | VER | WESTVALL_7_UNIT 4 | 40 | PACE | Non-VER
DALREED_7_WIND | 9.9 | PACW | VER | WESTVALL_7_UNIT 5 | 40 | PACE | Non-VER
GOODNOEH_7_UNIT | 94 | PACW | VER | BIOMAS_7_PACW | 32.5 | PACW | Non-VER
HINKLE_6_UNIT | 64.55 | PACW | VER | CAMASMI_7_UNIT | 61.5 | PACW | Non-VER
LEANJNPR_7_UNIT | 100.5 | PACW | VER | CLEARWA1_7_UNIT | 17.9 | PACW | Non-VER
MARENGO_6_UNITS | 210.6 | PACW | VER | CLEARWA2_7_UNIT | 31 | PACW | Non-VER
NINEMIL_7_UNIT 1 | 210 | PACW | VER | COID_7_UNITS | 6 | PACW | Non-VER
Total | 2587.65 |  |  | COLSTR_5_PACE | 74 | PACW | Non-VER
|  |  |  | COLSTR_5_PACW | 74 | PACW | Non-VER
|  |  |  | COPCO1_7_UNIT 1 | 14 | PACW | Non-VER
|  |  |  | COPCO1_7_UNIT 2 | 14 | PACW | Non-VER
|  |  |  | COPCO2_7_UNIT 1 | 17 | PACW | Non-VER
|  |  |  | COPCO2_7_UNIT 2 | 17 | PACW | Non-VER
|  |  |  | DALREED_7_BIO | 4.8 | PACW | Non-VER
|  |  |  | EVERGBIO_6_BIO | 10 | PACW | Non-VER
|  |  |  | FALLCREE_7_UNIT | 2 | PACW | Non-VER
|  |  |  | FARMERS_6_UNIT | 4.15 | PACW | Non-VER
|  |  |  | FISHCREO_7_UNIT | 10.4 | PACW | Non-VER
|  |  |  | GRACE_7_UNIT 3 | 11 | PACW | Non-VER
|  |  |  | GRACE_7_UNIT 4 | 11 | PACW | Non-VER
|  |  |  | GRACE_7_UNIT 5 | 11 | PACW | Non-VER
|  |  |  | IRONGATE_7_UNIT | 18.8 | PACW | Non-VER
|  |  |  | JCBOYLE_7_UNIT 1 | 40 | PACW | Non-VER
|  |  |  | JCBOYLE_7_UNIT 2 | 43 | PACW | Non-VER
|  |  |  | LEMOLO1_7_UNIT | 32 | PACW | Non-VER
|  |  |  | LEMOLO2_7_UNIT | 38.5 | PACW | Non-VER
|  |  |  | MERWIN_7_UNITS | 150 | PACW | Non-VER
|  |  |  | OPALSPRI_7_UNIT | 4.3 | PACW | Non-VER
|  |  |  | PELTONRE_7_UNIT | 19.6 | PACW | Non-VER
|  |  |  | PENSTOCK_6_UNIT | 5 | PACW | Non-VER
|  |  |  | PROSPEC2_7_UNIT 1 | 18 | PACW | Non-VER
|  |  |  | PROSPEC2_7_UNIT 2 | 18 | PACW | Non-VER
|  |  |  | PROSPEC3_7_UNIT | 7.7 | PACW | Non-VER
|  |  |  | RFP_6_UNIT | 10 | PACW | Non-VER
|  |  |  | ROSEBURL_7_LUMB | 20 | PACW | Non-VER
|  |  |  | SLIDECRE_7_UNIT | 18 | PACW | Non-VER
|  |  |  | SODA_7_UNIT 1 | 7 | PACW | Non-VER
|  |  |  | SODA_7_UNIT 2 | 7 | PACW | Non-VER
|  |  |  | SODASPRI_7_UNIT | 11.6 | PACW | Non-VER
|  |  |  | TIETONHY_6_UNIT | 13.8 | PACW | Non-VER
|  |  |  | TOKETEE_7_UNIT 1 | 15 | PACW | Non-VER
|  |  |  | TOKETEE_7_UNIT 2 | 15 | PACW | Non-VER
|  |  |  | TOKETEE_7_UNIT 3 | 15 | PACW | Non-VER
|  |  |  | WEBER_7_UNIT | 2 | PACW | Non-VER
|  |  |  | TOTAL | 2227.65