1.	The undersigned Interconnection Customer submits this request to interconnect its Large Generating Facility with Transmission Provider's Transmission System pursuant to a Tariff.

2.	This Interconnection Request is for (check one):

A proposed new Large Generating Facility.

For an existing Generating Facility, an increase

in generating facility capacity (net or gross) not eligible for Surplus Interconnection Service,

in Interconnection Service amount, or

deemed a Material Modification.

For prior- or equally-queued active Interconnection Request, an increase

in generating facility capacity (net or gross) not eligible for Surplus Interconnection Service,

in Interconnection Service amount, or

deemed a Material Modification.

Surplus Interconnection Service at an existing Generating Facility with an active effective Standard Large Generator Interconnection Agreement.  
For Surplus Interconnection Service provide the:

- original Queue Position of Interconnection Customer’s Standard Large Generator Interconnection Agreement with an unused portion of Interconnection Service;

- name, address, telephone number, and e-mail address of original Interconnection Customer’s contact person;

- affiliation (if any) of the new Interconnection Customer with the original Interconnection Customer;

- proposed use of original Generating Facility’s unused Interconnection Service by the proposed new Generating Facility (e.g., times and amounts of use, controls, combined electrical one-line); and

- agreement that exists between the original Interconnection Customer and the new Interconnection Customer on the use of Surplus Interconnection Service.

3.	The type of interconnection service requested (check one):

Energy Resource Interconnection Service

Network Resource Interconnection Service

4. 		Check here only if Interconnection Customer requesting Network Resource Interconnection Service in 3. above also seeks to have its Generating Facility studied for Energy Resource Interconnection Service up to the point of executing its Interconnection Facilities Study Agreement.

5.	Interconnection Customer provides the following information:

a.	Address or location or the proposed new Large Generating Facility site including a USGS map of the proposed plant site (to the extent known) or, in the case of an existing Generating Facility, the name and specific location of the existing Generating Facility;

b.	Maximum summer at 95 degrees F and winter at 20 degrees F (or at _____ °F) gross and net megawatt electrical output of the proposed new Large Generating Facility or the amount of megawatt increase in the generating capacity of an existing Generating Facility;

c.	General description of the equipment configuration;

d.	Estimated In-Service Date, Initial Synchronization Date and Commercial

Operation Date (Day, Month, and Year);

| In-Service Date | The date upon which the Interconnection Customer reasonably expects it will be ready to begin use of the Transmission Provider’s Interconnection Facilities to obtain back feed power. |
| --- | --- |
| Initial Synchronization Date | The date upon which the Generating Facility is initially synchronized and upon which Trial Operation begins. |
| Commercial Operation Date | The date on which the Generating Facility commences Commercial Operation as agreed to by the Parties pursuant to Appendix E to the Standard Large Generator Interconnection Agreement. |

e.	Name, address, telephone number, and e-mail address of Interconnection Customer's contact person;

f.	Approximate location of the proposed Point of Interconnection [latitude and longitude (required) Line name or substation (optional)];

g.	Interconnection Customer Data (set forth in Attachment A);

h.	Running Station Service Load       MW;       Mvar;

i.		Attach single-line diagram

ii.	Running Station Service Load Location:

High-Side of GSU

Low-Side of GSU

i.	Primary frequency response operating range for electric storage resources;

j.	Request capacity (in MW) of Interconnection Service (if lower than the Generating Facility Capacity)       MW; and

k.	If applicable, a description of any control technologies (software and/or hardware) that will limit the operation of the Generating Facility to its intended operation.

6.	Applicable deposit amount as specified in the LGIP.

7.	Evidence of Site Control as specified in the LGIP (check one):

Is attached to this Interconnection Request

Will be provided at a later date in accordance with this LGIP (i.e., Regulatory Limitations and required proof provided with this request)

8.	This Interconnection Request shall be submitted to the representative indicated below:

Southern Company Services

Interconnections Project Manager

Trans SCS Policy - Interconnection (tscspinter@southernco.com)

9.	Representative of Interconnection Customer to contact:

10.	This Interconnection Request is submitted by:

Name of Interconnection Customer:

By (signature): ____________________________________________________

Name (type or print):

Title:

Date:

# LARGE GENERATING FACILITY DATA

GENERATOR INTERCONNECTION TIE LINE

(FROM GENERATING FACILITY TO INTERCONNECTING SUBSTATION)

Line voltage:       kV, line length:

Line rating at 95(F ambient:       MVA, at 104(F ambient:       MVA

R1 =       ohm or       pu on 100 MVA and line kV base (positive sequence)

X1 =       ohm or       pu on 100 MVA and line kV base (positive sequence)

B1 =       (F or        pu on 100 MVA and line kV base (positive sequence)

R0 =       ohm or       pu on 100 MVA and line kV base (zero sequence)

X0 =       ohm or       pu on 100 MVA and line kV base (zero sequence)

B0 =       (F or        pu on 100 MVA and line kV base (zero sequence)

# UNIT RATINGS

| MVA |  | °F |  |
| --- | --- | --- | --- |
| Power Factor |  | Voltage |  |
| Speed (RPM) |  | Connection (e.g. Wye) |  |
| Short Circuit Ratio |  | Frequency, Hertz |  |
| Stator Amperes at Rated MVA |  | Field Volts |  |

| Maximum Gross Turbine MW at 95°F | MW |
| --- | --- |
| Maximum Gross Reactive production at Maximum MW output (95°F) and rated voltage | Mvar |
| Maximum Gross Reactive absorption at Maximum MW output (95°F) and rated voltage | Mvar |
| Maximum Gross Turbine MW at 20°F (or at ____°F) | MW |
| Maximum Gross Reactive production at Maximum MW output (20 or at ____°F) and rated voltage | Mvar |
| Maximum Gross Reactive absorption at Maximum MW output (20 or at ____°F) and rated voltage | Mvar |

# COMBINED TURBINE-GENERATOR-EXCITER INERTIA DATA

| Inertia Constant, H | kW sec/kVA |
| --- | --- |

or

| Moment-of-Inertia, WR2 | lb. ft.2 |
| --- | --- |

# REACTANCE DATA (PER UNIT-RATED KVA)

|  | DIRECT AXIS | QUADRATURE AXIS |
| --- | --- | --- |
| Synchronous – saturated | Xdv |  | Xqv |  |
| Synchronous – unsaturated | Xdi |  | Xqi |  |
| Transient – saturated | X'dv |  | X'qv |  |
| Transient – unsaturated | X'di |  | X'qi |  |
| Subtransient – saturated | X"dv |  | X"qv |  |
| Subtransient – unsaturated | X"di |  | X"qi |  |
| Negative Sequence – saturated | X2v |  |
| Negative Sequence – unsaturated | X2i |  |
| Zero Sequence – saturated | X0v |  |
| Zero Sequence – unsaturated | X0i |  |
| Leakage Reactance | Xlm |  |

# FIELD TIME CONSTANT DATA (SEC)

| Open Circuit | T'do |  | T'qo |  |
| --- | --- | --- | --- | --- |
| Three-Phase Short Circuit Transient | T'd3 |  | T'q |  |
| Line to Line Short Circuit Transient | T'd2 |  |
| Line to Neutral Short Circuit Transient | T'd1 |  |
| Short Circuit Subtransient | T"d |  | T"q |  |
| Open Circuit Subtransient | T"do |  | T"qo |  |

# ARMATURE TIME CONSTANT DATA (SEC)

| Three Phase Short Circuit | Ta3 |  |
| --- | --- | --- |
| Line to Line Short Circuit | Ta2 |  |
| Line to Neutral Short Circuit | Ta1 |  |

# NOTE: If requested information is not applicable, indicate by marking "N/A."

# MW CAPABILITY AND PLANT CONFIGURATION

LARGE GENERATING FACILITY DATA

# ARMATURE WINDING RESISTANCE DATA (PER UNIT)

| Positive | R1 |  |
| --- | --- | --- |
| Negative | R2 |  |
| Zero | R0 |  |

Rotor Short Time Thermal Capacity I22t =

Field Current at Rated MVA, Armature Voltage and PF =       amps

Field Current at Rated MVA and Armature Voltage, 0 PF =       amps

Three Phase Armature Winding Capacitance =       microfarad

Field Winding Resistance =       ohms       °C

Armature Winding Resistance (Per Phase) =       ohms       °C

# CURVES

Provide Generator Vendor Data Sheets, including reactances, time constants, Saturation, Vee, Reactive Capability, Capacity Temperature Correction curves.  Designate normal and emergency Hydrogen Pressure operating range for multiple curves.

# GENERATOR STEP-UP TRANSFORMER DATA RATINGS

# TWO-WINDING GENERATOR STEP-UP TRANSFORMER DATA (if applicable)

Capacity (i.e., OA/FA/FA):       /     /      MVA

Voltage Ratio (Generator Side/System side):       /      kV

Winding Connections (Low V/High V ()):       /

# Fixed Taps Available:       /     /     /     /      kV

# Present Tap Setting (if applicable):        kV

# IMPEDANCE

Positive 	 Z1 (on OA MVA rating)       %       X/R

Zero 		 Z0 (on OA MVA rating)       %       X/R

THREE-WINDING GENERATOR STEP-UP TRANSFORMER DATA (if applicable)

GSU connection and winding (please attach diagram and mark to reference this form).

# H Winding Data

Full load ratings (i.e. OA/FA/FA):       /     /      MVA

Rated high side voltage base:        kV	   connected

Tap positions available:       /     /     /     /      kV

Present Tap Setting (if applicable):        kV

Neutral solidly grounded?       (or) Neutral Grounding Resistor (if applicable)       Ohms

BIL rating:        kV

X Winding Data

Full load ratings (i.e. OA/FA/FA):       /     /      MVA

Rated high side voltage base:        kV	   connected

Tap positions available:       /     /     /     /      kV

Present Tap Setting (if applicable):        kV

Neutral solidly grounded?       (or) Neutral Grounding Resistor (if applicable)       Ohms

BIL rating:        kV

# Y Winding Data

Full load ratings (i.e. OA/FA/FA):       /     /      MVA

Rated high side voltage base:        kV	   connected

Tap positions available:       /     /     /     /      kV

Present Tap Setting (if applicable):        kV

Neutral solidly grounded?       (or) Neutral Grounding Resistor (if applicable)       Ohms

BIL rating:        kV

IMPEDANCE

H-X Winding data

Transformer base for impedances provided below:       MVA

Positive sequence impedance Z1(H-X)       %       X/R

Zero sequence impedance Z0(H-X)       %       X/R

H-Y Winding data

Transformer base for impedances provided below:       MVA

Positive sequence impedance Z1(H-Y)       %       X/R

Zero sequence impedance Z0(H-Y)       %       X/R

X-Y Winding data

Transformer base for impedances provided below:       MVA

Positive sequence impedance Z1(X-Y)       %       X/R

Zero sequence impedance Z0(X-Y)       %       X/R

# EXCITATION SYSTEM DATA

Identify appropriate IEEE or PTI model block diagram of excitation system and power system stabilizer (PSS) for computer representation in power system stability simulations and the corresponding excitation system and PSS constants for use in the model.

# GOVERNOR SYSTEM DATA

Identify appropriate IEEE or PTI model block diagram of governor system for computer representation in power system stability simulations and the corresponding governor system constants for use in the model.

# WIND GENERATORS

Number of generators to be interconnected pursuant to this Interconnection Request:

Elevation:

Inverter manufacturer, model name, number, and version:

List of adjustable setpoints for the protective equipment or software:

Note: A completed power system load flow and dynamic data in IEEE or PTI format must be supplied with the Interconnection Request.  If other data sheets provide additional information for consideration in the Interconnection Request, then they shall be provided and discussed at the Scoping Meeting.

# INDUCTION GENERATORS

(*) Field Volts:

(*) Field Amperes:

(*) Motoring Power (kW):

(*) Neutral Grounding Resistor (If Applicable):

(*) I22t or K (Heating Time Constant):

(*) Rotor Resistance:

(*) Stator Resistance:

(*) Stator Reactance:

(*) Rotor Reactance:

(*) Magnetizing Reactance:

(*) Short Circuit Reactance:

(*) Exciting Current:

(*) Temperature Rise:

(*) Frame Size:

(*) Design Letter:

(*) Reactive Power Required In Vars (No Load):

(*) Reactive Power Required In Vars (Full Load):

(*) Total Rotating Inertia, H:       Per Unit on KVA Base

Note: Please consult Transmission Provider prior to submitting the Interconnection Request to determine if the information designated by (*) is required.

MODELS FOR NON-SYNCHRONOUS GENERATORS

For a non-synchronous Large Generating Facility, Interconnection Customer shall provide (1) a validated user-defined root mean squared (RMS) positive sequence dynamics model; (2) an appropriately parameterized generic library RMS positive sequence dynamics model, including model block diagram of the inverter control and plant control systems, as defined by the selection in Table 1 or a model otherwise approved by the Western Electricity Coordinating Council, that corresponds to Interconnection Customer’s Large Generating Facility; and (3) if applicable, a validated electromagnetic transient model if Transmission Provider performs an electromagnetic transient study as part of the interconnection study process.  A user-defined model is a set of programming code created by equipment manufacturers or developers that captures the latest features of controllers that are mainly software based and represents the entities’ control strategies but does not necessarily correspond to any generic library model.  Interconnection Customer must also demonstrate that the model is validated by providing evidence that the equipment behavior is consistent with the model behavior (e.g., an attestation from Interconnection Customer that the model accurately represents the entire Large Generating Facility; attestations from each equipment manufacturer that the user defined model accurately represents the component of the Large Generating Facility; or test data).

Table 1:  Acceptable Generic Library RMS Positive Sequence Dynamics Models

| GE PSLF | Siemens PSS/E* | PowerWorld Simulator | Description |
| --- | --- | --- | --- |
| pvd1 |  | PVD1 | Distributed PV system model |
| der_a | DERAU1 | DER_A | Distributed energy resource model |
| regc_a | REGCAU1, REGCA1 | REGC_A | Generator/converter model |
| regc_b | REGCBU1 | REGC_B | Generator/converter model |
| wt1g | WT1G1 | WT1G and WT1G1 | Wind turbine model for Type-1 wind turbines (conventional directly connected induction generator) |
| wt2g | WT2G1 | WT2G and WT2G1 | Generator model for generic Type-2 wind turbines |
| wt2e | WT2E1 | WT2E and WT2E1 | Rotor resistance control model for wound-rotor induction wind-turbine generator wt2g |
| reec_a | REECAU1, REECA1 | REEC_A | Renewable energy electrical control model |
| reec_c | REECCU1 | REEC_C | Electrical control model for battery energy storage system |
| reec_d | REECDU1 | REEC_D | Renewable energy electrical control model |
| wt1t | WT12T1 | WT1T and WT12T1 | Wind turbine model for Type-1 wind turbines (conventional directly connected induction generator) |
| wt1p_b | wt1p_b | WT12A1U_B | Generic wind turbine pitch controller for WTGs of Types 1 and 2 |
| wt2t | WT12T1 | WT2T | Wind turbine model for Type-2 wind turbines (directly connected induction generator wind turbines with an external rotor resistance) |
| wtgt_a | WTDTAU1, WTDTA1 | WTGT_A | Wind turbine drive train model |
| wtga_a | WTARAU1, WTARA1 | WTGA_A | Simple aerodynamic model |
| wtgp_a | WTPTAU1, WTPTA1 | WTGPT_A | Wind Turbine Generator Pitch controller |
| wtgq_a | WTTQAU1, WTTQA1 | WTGTRQ_A | Wind Turbine Generator Torque controller |
| wtgwgo_a | WTGWGOAU | WTGWGO_A | Supplementary control model for Weak Grids |
| wtgibffr_a | WTGIBFFRA | WTGIBFFR_A | Inertial-base fast frequency response control |
| wtgp_b | WTPTBU1 | WTGPT_B | Wind Turbine Generator Pitch controller |
| wtgt_b | WTDTBU1 | WTGT_B | Drive train model |
| repc_a | Type 4: REPCAU1 (v33), REPCA1 (v34) Type 3: REPCTAU1 (v33), REPCTA1 (v34) | REPC_A | Power Plant Controller |
| repc_b | PLNTBU1 | REPC_B | Power Plant Level Controller for controlling several plants/devices In regard to Siemens PSS/E*: Names of other models for interface with other devices: REA3XBU1, REAX4BU1- for interface with Type 3 and 4 renewable machines SWSAXBU1- for interface with SVC (modeled as switched shunt in powerflow) SYNAXBU1- for interface with synchronous condenser FCTAXBU1- for interface with FACTS device |
| repc_c | REPCCU | REPC_C | Power plant controller |