## U.P. Futures Summary
ATC Futures - ATC Energy Collaborative - Michigan
October 27, 2008 (Draft for Stakeholder Comment)
| Load Assumptions | [11 empty] | Generation Assumptions
UP Micro-Drivers | Demand Growth Within UP (Demand MWs) |  |  | Energy Growth Within UP (Energy MWHrs) |  |  | Total Point Loads MW added in the UP (2018/2024) |  |  | Total UP Growth (2018) | Total UP Growth (2024) | Demand Growth Outside UP (MWs) | Existing UP Generation Profile (Changes in Dispatch Characteristics) |  |  | UP Generation Additions |  |  | UP Generation retirements |  |  | Wind Generation |  |  | New Generation in Northern Lower Michigan
Bounds | West | Central | East | West | Central | East | West | Central | East | U.P. | U.P. |  | West | Central | East | West | Central | East | West | Central | East | West | Central | East
[7 empty] | (-6 / 0) | (-111 / 0) | (-2 / 0) |  |  |  | Fossil (-69 MW) | Fossil (-151 MW) | 9.4MW Diesel Available |  |  | 5 MW |  | 116 MW
Lower | -0.1% | 0.08% | 0.1% | -0.1% | 0.08% | 0.1% | -6 MW | -111 MW | -2 MW | -1.44% | -0.86% | 0.5% | Hydro 20% of max | Hydro 20% of max | Hydro Off Line (0MW) | None | None |  | None |  | None | Zero | Zero | Zero | Zero
[8 empty] | (-40 / 0) |  |  |  |  | Fossil (-51MW) | Fossil (-134)
Mid-Lower | 0.36% | 0.48% | 0.4% | 0.36% | 0.48% | 0.4% | No Change | -40 MW | No Change | -0.24% | -0.05% | 1% | Hydro 20% of max | Hydro 20% of max
[7 empty] | (+5 / 0) | (+29 / 0) | (+33 / 0) |  |  |  | Fossil (-40MW) | Fossil (-65 MW) | 11.4MW Diesel Available |  | 10MW | 29 MW
Mid | 0.73% | 0.84% | 0.75% | 0.73% | 0.84% | 0.75% | +5 MW | +29 MW | +33 MW | 1.14% | 0.84% | 1.75% | Hydro 40% of max | Hydro 40% of max, | 20MW Hydro | None |  |  | None |  | None | 25MW | 50MW | 50MW | 100MW
[7 empty] | (+16 / +3) | (+79 / +20) | (+35 / +5) |  |  |  | Fossil all available | Fossil (-40 MW) | 11.4MW Diesel Available |  |  | 93MW
Mid-Upper | 1.23% | 1.25% | 1.25% | 1.23% | 1.25% | 1.25% | +19 MW | +99 MW | +40 MW | 2% | 1.6% | 2% | Hydro 50% of max | Hydro 50% of max | 32MW Hydro |  |  |  | None |  |  | 50MW | 100MW | 100MW
[7 empty] | (+19 / +22) | (+134 /+50) | (+46 / +10) |  |  |  | Fossil all available | Fossil all available | Diesel 100% Available (16MW) |  | 10MW | 101 MW |  | 138 MW
Upper | 1.93% | 2% | 2% | 1.93% | 2% | 2% | +41 MW | +184 MW | +56 MW | 3% | 2.58% | 3% | Hydro 60% of max | Hydro 60% of max | Hydro 100% (44MW) | None |  |  | None |  | None | 100MW | 200MW | 200MW | 600MW
2018 Futures Descriptions
| (+1.93%) | (+2.00%) | (+2.00%) | (+1.93%) | (+2.00%) | (+2.00%) | (+19 MW) | (+134 MW) | (+46 MW) | (+3.00%) |  |  | Fossil all available | Fossil all available | 20MW Hydro | (none) | (+10MW) | (+101 MW) | (none) | (-116 MW) | (none) | (+25 MW) | (+50 MW) | (+50 MW)
Robust Economy | Upper | Upper | Upper | Upper | Upper | Upper | Upper | Upper | Upper | Upper |  | Upper 3% | Upper | Upper | Mid | Upper | Upper | Upper | Lower | Lower | Lower | Mid | Mid | Mid | Upper 600MW
| (+0.73%) | (+0.84%) | (+0.75%) | (+0.73%) | (+0.84%) | (+0.75%) | (+5 MW) | (+29 MW) | (+33 MW) | (+1.14%) |  |  | (-69 MW) | Fossil (-151 MW) | 32MW Hydro | (none) | (none) | (+29 MW) | (none) | (-138 MW) | (none) | (+25 MW) | (+50 MW) | (+50 MW)
High Retirements | Mid | Mid | Mid | Mid | Mid | Mid | Mid | Mid | Mid | Mid |  | Mid 1.75% | Lower | Lower | Mid-Upper | Lower | Lower | Mid | Lower | Upper | Lower | Mid | Mid | Mid | Upper 600MW
| (+0.36%) | (+0.48%) | (+0.40%) | (+0.36%) | (+0.48%) | (+0.40%) | (no change) | (-40 MW) | (no change) | (-0.24%) |  |  | Fossil (-51MW) | Fossil (-134) | 20MW Hydro | (none) | (none) | (+5 MW) | (none) | (-116 MW) | (none) | (+50 MW) | (+100 MW) | (+100 MW)
High Environmental | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower |  | Mid-Lower 1% | Mid-Lower | Mid-Lower | Mid | Lower | Lower | Lower | Lower | Lower | Lower | Mid-Upper | Mid-Upper | Mid-Upper | Lower 0
| (-0.10%) | (+0.08%) | (+0.10%) | (-0.10%) | (+0.08%) | (+0.10%) | (-6 MW) | (-111 MW) | (-2 MW) | (-1.44%) |  |  | Fossil (-40MW) | Fossil (-65 MW) | Hydro 100% (44MW) | (none) | (+10MW) | (+5 MW) | (none) | (-116MW) | (none) | (none) | (none) | (none)
Slow Growth | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower |  | Lower 0.5% | Mid | Mid | Upper | Mid | Mid | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower 0
| (+1.23%) | (+1.25%) | (+1.25%) | (+1.23%) | (+1.25%) | (+1.25%) | (+16 MW) | (+79 MW) | (+35 MW) | (+2.00%) |  |  | (-69 MW) | Fossil (-151 MW) | 20MW Hydro | (none) | (none) | (+93 MW) | (none) | (-138 MW) | (none) | (+100 MW) | (+200 MW) | (+200 MW)
DOE 20% Wind | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper |  | Mid-Upper 2% | Lower | Lower | Mid | Lower | Lower | Mid-Upper | Lower | Upper | Lower | Upper | Upper | Upper | Mid 100MW
| (+0.73%) | (+0.84%) | (+0.75%) | (+0.73%) | (+0.84%) | (+0.75%) | (no change) | (no change) | (no change) | (0.48%) |  |  | Fossil (-40MW) | Fossil (-65 MW) | Hydro Off Line (0MW) | (none) | (+10MW) | (+5 MW) | (none) | (-116 MW) | (none) | (none) | (none) | (none)
Fuel and Investment Limitations | Mid | Mid | Mid | Mid | Mid | Mid | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower |  | Mid-Lower 1.3% | Mid | Mid | Lower | Mid | Mid | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower 0
2024 Futures Descriptions
| (+1.93%) | (+2.00%) | (+2.00%) | (+1.93%) | (+2.00%) | (+2.00%) | (+41 MW) | (+184 MW) | (+56 MW) |  | (+2.58%) |  | Fossil all available | Fossil all available | 20MW Hydro | (none) | (+10MW) | (+101 MW) | (none) | (-116 MW) | (none) | (+25 MW) | (+50 MW) | (+50 MW)
Robust Economy | Upper | Upper | Upper | Upper | Upper | Upper | Upper | Upper | Upper |  | Upper | Upper 3% | Upper | Upper | Mid | Upper | Upper | Upper | Lower | Lower | Lower | Mid | Mid | Mid | Upper 600MW
| (+0.73%) | (+0.84%) | (+0.75%) | (+0.73%) | (+0.84%) | (+0.75%) | (+5 MW) | (+29 MW) | (+33 MW) |  | (+0.84%) |  | (-69 MW) | Fossil (-151 MW) | 32MW Hydro | (none) | (none) | (+29 MW) | (none) | (-138 MW) | (none) | (+25 MW) | (+50 MW) | (+50 MW)
High Retirements | Mid | Mid | Mid | Mid | Mid | Mid | Mid | Mid | Mid |  | Mid | Mid 1.75% | Lower | Lower | Mid-Upper | Lower | Lower | Mid | Lower | Upper | Lower | Mid | Mid | Mid | Upper 600MW
| (+0.36%) | (+0.48%) | (+0.40%) | (+0.36%) | (+0.48%) | (+0.40%) | (no change) | (-40 MW) | (no change) |  | (-0.05%) |  | Fossil (-51MW) | Fossil (-134) | 20MW Hydro | (none) | (none) | (+5 MW) | (none) | (-116 MW) | (none) | (+50 MW) | (+100 MW) | (+100 MW)
High Environmental | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower | Mid-Lower |  | Mid-Lower | Mid-Low 1% | Mid-Lower | Mid-Lower | Mid | Lower | Lower | Lower | Lower | Lower | Lower | Mid-Upper | Mid-Upper | Mid-Upper | Lower 0
| (-0.10%) | (+0.08%) | (+0.10%) | (-0.10%) | (+0.08%) | (+0.10%) | (-6 MW) | (-111 MW) | (-2 MW) |  | (-0.86%) |  | Fossil (-40MW) | Fossil (-65 MW) | Hydro 100% (44MW) | (none) | (+10MW) | (+5 MW) | (none) | (-116MW) | (none) | (none) | (none) | (none)
Slow Growth | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower |  | Lower | Lower 0.5% | Mid | Mid | Upper | Mid | Mid | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower 0
| (+1.23%) | (+1.25%) | (+1.25%) | (+1.23%) | (+1.25%) | (+1.25%) | (+19 MW) | (+99 MW) | (+40 MW) |  | (+1.60%) |  | (-69 MW) | Fossil (-151 MW) | 20MW Hydro | (none) | (none) | (+93 MW) | (none) | (-138 MW) | (none) | (+100 MW) | (+200 MW) | (+200 MW)
DOE 20% Wind | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper | Mid-Upper |  | Mid-Upper | Mid-Upper 2% | Lower | Lower | Mid | Lower | Lower | Mid-Upper | Lower | Upper | Lower | Upper | Upper | Upper | Mid 100MW
| (+0.73%) | (+0.84%) | (+0.75%) | (+0.73%) | (+0.84%) | (+0.75%) | (no change) | (no change) | (no change) |  | (0.45%) |  | Fossil (-40MW) | Fossil (-65 MW) | Hydro Off Line (0MW) | (none) | (+10MW) | (+5 MW) | (none) | (-116 MW) | (none) | (none) | (none) | (none)
Fuel and Investment Limitations | Mid | Mid | Mid | Mid | Mid | Mid | Mid-Lower | Mid-Lower | Mid-Lower |  | Mid-Lower | Mid-Lower 1.3% | Mid | Mid | Lower | Mid | Mid | Lower | Lower | Lower | Lower | Lower | Lower | Lower | Lower 0